# UEECS0004 Commission industrial computer systems

Release: 1

UEECS0004 Commission industrial computer systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to commission industrial computer systems. It encompasses applying safe working practices, testing system parameters, adjusting to assure optimum performance, following workplace procedures, and documenting final adjustment parameters and settings. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, skills and knowledge described in this unit require a relevant contract of training, such as an Australian Apprenticeship. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. Permits may also be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Computer Systems

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to commission computer systems | 1.1 | WHS/OHS processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures in preparation for the work are followed |
|  |  | 1.3 | Safety hazards that have not previously been identified are noted and risk control measures implemented |
|  |  | 1.4 | Relevant person/s is consulted to ensure work is coordinated effectively with others involved on the worksite |
|  |  | 1.5 | System operating parameters are identified by reviewing system specifications and component technical data |
|  |  | 1.6 | Tools, equipment, applications and testing devices required for work are obtained in accordance with workplace procedures and checked for correct operation and safety |
|  |  | 1.7 | Preparatory work is checked to ensure no damage has occurred in accordance with workplace procedures |
|  |  | 1.8 | Circuits are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
| 2 | Commission computer systems | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Testing/measuring devices are connected and set up in accordance with relevant industry standards |
|  |  | 2.3 | Measurements and adjustments are made to computer equipment to provide optimum system performance in accordance with system specifications and/or relevant industry standards |
|  |  | 2.4 | Decisions for dealing with unplanned situations are dealt with in consultation with relevant person/s and job specifications in accordance with relevant industry standards |
|  |  | 2.5 | Methods for dealing with unexpected situations are selected on the basis of safety and specified work outcomes |
|  |  | 2.6 | Systems commissioning workplace procedures are performed in accordance with relevant industry standards |
|  |  | 2.7 | Commissioning is carried out efficiently without waste of materials or damage to apparatus, the surrounding environment or services using sustainable energy principles |
| 3 | Complete and report commissioning activities | 3.1 | WHS/OHS risk control work completion measures and workplace procedures are followed |
|  |  | 3.2 | Adjustment settings are documented in accordance with workplace procedures |
|  |  | 3.3 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.4 | Commissioning results and work completion are notified to relevant person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Commissioning industrial computer systems must include at least two of the following: | different types of computer systems associated components controls |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEED144A Commission industrial computer systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6