# UEECS0013 Develop and validate biometric equipment/systems installation

Release: 1

UEECS0013 Develop and validate biometric equipment/systems installation

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop and validate biometric equipment/systems installation. It includes working safely, identifying operating parameters, following instructions, validating biometric equipment/systems installation and documenting outcomes. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Computer Systems

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to develop and validate biometric equipment/systems installation | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Technical factors relevant to the system installation in criminal, civil and commercial settings are identified |
|  |  | 1.3 | Scope of the biometric system installation and factors affecting the integration and application of proprietary or open source packages are identified and evaluated in accordance with workplace procedures |
|  |  | 1.4 | Existing and planned technical and environmental requirements are evaluated and documented in accordance with workplace procedures |
|  |  | 1.5 | Work team/group is assembled of relevant persons in accordance with work requirements and workplace procedures |
|  |  | 1.6 | Existing and projected business model, organisational and information technology management structures and legal aspects of biometrics are analysed in accordance with workplace procedures and relevant industry standards |
|  |  | 1.7 | Activities are planned in accordance with workplace procedures for timelines and in consultation with others involved |
|  |  | 1.8 | Correct operation and safety of software, tools equipment and testing devices required to carry out work are obtained and checked in accordance with relevant industry standards |
|  |  | 1.9 | Work supervisor and/or customer/s are consulted to determine functions and parameters of the system and confirmation documented in accordance with workplace procedures |
| 2 | Develop and validate biometric equipment/systems installation with relevant instructions | 2.1 | Biometric system is developed with relevant technology of biometric systems, information technology, network security, installation performance standards, compliance methods and service equipment in accordance with workplace procedures and relevant industry standards |
|  |  | 2.2 | Development process for installation, equipment, instructions and validation requirements of the biometric system are evaluated in accordance with workplace procedures and relevant industry standards |
|  |  | 2.3 | Safety, functional and budgetary requirements are incorporated in the installation plan, analysed and evaluated in accordance with workplace procedures and relevant industry standards |
|  |  | 2.4 | Equipment required for the biometric system are validated in accordance with the biometric system installation and workplace procedures |
|  |  | 2.5 | Australian and international standards and/or codes of practice are used to evaluate compliance |
|  |  | 2.6 | Status and parameters of function system devices are entered in accordance with workplace procedures, manufacturer instructions and work requirements |
|  |  | 2.7 | Location of device/s in the installation of the biometric system is tested for correct operation of system functions and documented in accordance with workplace procedures |
|  |  | 2.8 | Unplanned situation/s are responded to in accordance with relevant industry standards and workplace procedures |
| 3 | Validate and report on biometric equipment/systems installation | 3.1 | Biometric system is tested in accordance with WHS/OHS requirements, relevant industry standards and workplace procedures |
|  |  | 3.2 | Operating anomalies are identified and reported in accordance with workplace procedures |
|  |  | 3.3 | System malfunctions are identified during testing using techniques in accordance with relevant industry standards and workplace procedures |
|  |  | 3.4 | Approaches to solving issues/problems are analysed to provide most effective solutions |
|  |  | 3.5 | Work completion is documented and relevant person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing biometric system installation, instructions and validating requirements of biometric equipment/systems must include at least two of the following features: | securing computer networks database design measurement of a biometric system equipment requirements and instructions |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEED155A Develop and validate biometric equipment/systems installation.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6