# Assessment Requirements for UEEEC0007 Commission electronics and communications systems

Release: 1

Assessment Requirements for UEEEC0007 Commission electronics and communications systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and includes:

identifying system design performance parameters and requirements measuring and adjusting system components to provide optimum system performance ensuring system operates within regulatory and/or specification requirements documenting adjustment settings with established procedures dealing with unplanned events applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, workplace procedures and practices, including using risk control measures applying sustainable energy principles and practices.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

electronic and communication systems commissioning commissioning processes: purpose of commissioning commissioning planning and documentation procedures for commissioning systems encompassing: configuring calibrating tuning validating system performance to specification procedures followed to commission instrument systems purpose and importance of documentation project to be carried out in accordance with current WHS/OHS procedures relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to commissioning electronics and communications systems applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6