# UEEEC0015 Develop basic plans for integrating security systems

Release: 1

UEEEC0015 Develop basic plans for integrating security systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop plans for integrating security systems. It includes integrating security components to form a complete security system with up to 100 connected intrusion and access devices based on common security scenarios. It also includes applying common security scenarios and security network industry standards and protocols, selecting network topology and physical media, applying disaster recovery planning, conducting performance management and documenting work activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEC0003 Assemble and set up basic security systems UEEEC0050 Program and commission commercial security systems UEEEC0048 Program and commission commercial access control security systems UEEEC0049 Program and commission commercial security closed-circuit television systems UEEEC0052 Program and test large security systems

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to develop integrated security system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for work |
|  |  | 1.3 | Extent of the proposed integrated security system is determined from the system specification or in consultation with appropriate person/s |
|  |  | 1.4 | Development work is planned to meet scheduled timelines in consultation with other person/s involved on the worksite |
| 2 | Develop integrated security system plan | 2.1 | Security scenarios and security network industry standards and protocols, network topology, physical media and disaster planning are applied to security system plan |
|  |  | 2.2 | Alternative system arrangements are considered in accordance with job requirements and specifications |
|  |  | 2.3 | Safety, functional and budget considerations are incorporated in the security system plan |
|  |  | 2.4 | Security system draft plan is checked for compliance with job specifications and regulatory requirements |
|  |  | 2.5 | Security system plan is documented for submission to appropriate person/s for approval |
|  |  | 2.6 | Dealing with unplanned situations are discussed with appropriate persons in accordance with job specifications and requirements |
| 3 | Obtain approval for system plan | 3.1 | Security system design is forwarded to client representative and/or relevant person/s for approval |
|  |  | 3.2 | Requests for alterations to the security plan are negotiated with relevant person/s in accordance with workplace procedures |
|  |  | 3.3 | Final security system plan is documented and approval obtained from appropriate person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with performance agreement and relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing basic plans for integrating security systems must include at least the following: | two integrated security systems with up to 100 connected intrusion and access devices |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH157A Develop basic plans for integrating security systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6