# UEEEC0026 Enter and verify programs for fire protection systems

Release: 1

UEEEC0026 Enter and verify programs for fire protection systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to enter and verify programs for fire protection systems. It includes programming fire protection systems that include multiple connected detection, warning and fire control devices and remote monitoring. It also includes working safely, using fire protection industry standards and protocols, entering system instructions, testing functionality of fire protection components and system operation, and documenting activities. Permits may be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEC0041 Install fire detection and warning system apparatus UEEEC0076 Verify compliance and functionality of fire protection system installations

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to enter operating instructions | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | WHS/OHS risk control measures and procedures are followed in preparation for the work |
|  |  | 1.3 | Safety hazards that have not previously been identified are assessed, reported and advice on risk control measures sought from work supervisor |
|  |  | 1.4 | Extent of programming work is determined from job specifications and in consultation with appropriate person/s |
|  |  | 1.5 | Tools, equipment and testing devices needed to carry out fire protection work activities are obtained and checked for correct operation and safety |
|  |  | 1.6 | Fire protection device installation is checked for compliance with job specification, industry standards and regulations |
| 2 | Enter software operating instructions | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Circuits/machines/plant are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Status of each function of the fire protection device is entered and their parameters set in accordance with manufacturer programming instructions |
|  |  | 2.4 | Entered data is checked as meeting those specified by work activity and job specifications |
|  |  | 2.5 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.6 | Programming is carried out efficiently without waste of materials and energy or damage to apparatus, the surrounding environment or other services |
| 3 | Test fire protection device operation and report findings | 3.1 | Fire protection device operation is tested in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 3.2 | Operating anomalies are identified and corrected in accordance with workplace procedure |
|  |  | 3.3 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.4 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.5 | Work completion is reported and appropriate person/s notified in accordance with workplace procedure |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Entering and verifying programs for fire protection systems must include at least the following: | two types of microprocessor fire protection control and indicating equipment with: at least 50 input devices at least 20 output devices at least 1 system interface control at least 2 logic timers system variables |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH163A Enter and verify programs for fire protection systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6