# UEEEC0027 Enter instructions and test wired and wireless security systems

Release: 1

UEEEC0027 Enter instructions and test wired and wireless security systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to enter instructions and test wired and wireless security systems. It includes entering instructions and testing electronic security systems with up to 50 connected devices typically used in single domestic and small commercial premises. It also includes working safely, programming as directed in user manuals, adjusting security devices, system testing and following written and oral instruction and workplace procedures. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, skills and knowledge described in this unit require a relevant contract of training, such as an Australian Apprenticeship. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEC0003 Assemble and set up basic security systems

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to enter instructions and test security system | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | WHS/OHS risk control measures are followed in preparation for security system work |
|  |  | 1.3 | Safety hazards not previously identified are risk assessed, reported and advice on risk control measures sought from the work supervisor |
|  |  | 1.4 | Nature and location of security system work is obtained from work supervisor or other appropriate person/s to determine the scope of work to be undertaken |
|  |  | 1.5 | Advice is sought from the work supervisor or other appropriate person/s to ensure the work is coordinated effectively with others |
|  |  | 1.6 | Sources of materials required for security system work are determined in accordance with workplace routines |
|  |  | 1.7 | Tools, equipment and testing devices needed to carry out security system work are obtained and checked for correct operation and safety |
| 2 | Enter instructions and test wired and wireless security system | 2.1 | WHS/OHS risk control measures for carrying out the work are followed |
|  |  | 2.2 | Circuits/machines/plant are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Security devices are checked for correct location and alignment |
|  |  | 2.4 | Security functions are entered into the security system in accordance with manufacturer instructions |
|  |  | 2.5 | Security system is inspected and tested in accordance with manufacturer instructions |
|  |  | 2.6 | Security system operational malfunctions are identified and corrected |
|  |  | 2.7 | Unplanned situations are responded to in accordance with workplace procedures and discussions with immediate supervisor for directions in a manner that minimises risk to personnel and equipment |
|  |  | 2.8 | Security program and testing is carried out efficiently without waste of materials or damage to apparatus, circuits or the surrounding environment using sustainable energy practices |
| 3 | Complete and document security system work activities | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Security system is documented in accordance with regulatory requirement and workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Security system must consist of a controller and an access device and at least two other different connected devices, both wired and wireless and include at least the following: | entering instructions and testing wired and wireless security systems for two security systems |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH152A Enter instructions and test wired and wireless security systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEEEC0027 Enter instructions and test wired and wireless security systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, workplace procedures and practices, including using risk control measures applying sustainable energy principles and practices dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment documenting ‘as-installed’ system correctly entering system instructions using relevant information technology identifying and correcting operational malfunctions testing system functions.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

access and detection functions diagnostic functions and their use relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures security systems software function and configurations, including relevant information technology and configuration options.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to entering instructions, and testing basic wired and wireless security systems applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6