# UEEEC0028 Fault find and repair complex power supplies

Release: 1

UEEEC0028 Fault find and repair complex power supplies

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to fault find and repair complex power supplies. It includes preparing to find and repair faults in complex power supplies, finding and repairing faults, and completing and reporting on repair activities. Permits may be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0043 Solve problems in direct current circuits UEEEC0060 Repairs basic electronic apparatus faults by replacement of components

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to find and repair faults in complex power supplies | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for relevant work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures are applied in accordance with workplace procedures prior to commencing work |
|  |  | 1.3 | Nature of the fault is obtained from documentation or discussions with relevant person/s to determine scope of work |
|  |  | 1.4 | Relevant person/s is consulted to ensure the work is coordinated effectively with others |
|  |  | 1.5 | Materials required for the work are determined in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices required for work are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Find and repair faults | 2.1 | WHS/OHS risk control measures and procedures are applied |
|  |  | 2.2 | Need to test and measure live work is determined in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Apparatus is isolated, as required, in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | Fault finding is approached methodically, applying principles of complex power supplies, analysing faults through reference to block and schematic diagrams and using measured and calculated values of power supply parameters |
|  |  | 2.5 | Apparatus components are dismantled, as necessary, and parts stored to protect against loss or damage |
|  |  | 2.6 | Faulty components are rechecked and their fault status confirmed |
|  |  | 2.7 | Materials required for repair work are sourced and obtained in accordance with workplace procedures |
|  |  | 2.8 | Effectiveness of the repair is tested in accordance with workplace procedures |
|  |  | 2.9 | Apparatus is reassembled, tested and prepared for return to customer |
|  |  | 2.10 | Unplanned situations are dealt with safely and with approval of relevant person/s |
|  |  | 2.11 | Fault-finding and repair activities are carried out efficiently without waste of materials, damage to apparatus, the surrounding environment or services applying sustainable energy practices |
| 3 | Complete and report repair activities | 3.1 | WHS/OHS risk control measures and workplace procedures are applied |
|  |  | 3.2 | Work area is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Justification is made in the required format for repairs to apparatus |
|  |  | 3.4 | Work completion is documented in accordance with workplace procedures and relevant person/s notified |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Finding and repairing faults in complex power supplies must include at least the following: | fault finding two faults in each of the following types of power supply: linear regulated power supply switch mode power supply |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH138A Fault find and repair complex power supplies.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6