# UEEEC0035 Fault find and repair satellite-based surveillance and observation systems

Release: 1

UEEEC0035 Fault find and repair satellite-based surveillance and observation systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to fault find and repair satellite-based surveillance and observation systems. It includes preparing to find and repair faults, finding and repairing faults, and completing and reporting fault-finding and repair activities. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, skills and knowledge described in this unit require a relevant contract of training, such as an Australian Apprenticeship. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. Permits may also be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEEEC0060 Repairs basic electronic apparatus faults by replacement of components UEEEC0066 Troubleshoot amplifiers in an electronic apparatus UEEEC0038 Find and repair microwave amplifier section faults in electronic apparatus UEEEC0067 Troubleshoot basic amplifier circuits UEEEC0063 Solve fundamental electronic communications system problems UEEEC0068 Troubleshoot communication systems and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits and UEEEC0074 Troubleshoot resonance circuits in an electronic apparatus UEEEC0065 Solve problems in basic electronic circuits or UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in magnetic and electromagnetic devices

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to find and repair faults | 1.1 | WHS/OHS requirements and workplace procedures for relevant work area are identified, obtained and applied |
|  |  | 1.2 | Risk control measures are applied in accordance with workplace procedures prior to commencing work |
|  |  | 1.3 | Risks/hazards are identified, assessed and reported to relevant person/s, and control measures implemented |
|  |  | 1.4 | Extent of faults is determined from reports, other relevant documentation and discussions with relevant person/s |
|  |  | 1.5 | Relevant person/s is consulted to ensure the work is coordinated effectively with others |
|  |  | 1.6 | Tools, equipment and testing devices required to diagnose faults are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Find and repair faults | 2.1 | Workplace risk control measures and procedures are applied |
|  |  | 2.2 | Need to test and measure live work is determined in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Circuits/machines/plant are checked and isolated, as required, in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | Logical diagnostic methods are applied to diagnose satellite-based surveillance and observation system faults employing measurements and estimations of system operating parameters referenced to system operational requirements in accordance with workplace procedures and relevant industry standards |
|  |  | 2.5 | Suspected fault scenarios are tested as being the source of system problems |
|  |  | 2.6 | Source of the fault is identified and relevant person/s engaged to rectify the fault where it is outside the scope of capability in accordance with workplace procedures and relevant industry standards |
|  |  | 2.7 | Faults in the electronic components of the system are rectified to raise satellite-based surveillance and observation system to its operation standard |
|  |  | 2.8 | System is tested to verify that the system operates as intended and to specified requirements in accordance with workplace procedures and job specifications |
|  |  | 2.9 | Decisions for dealing with unplanned situations are made in accordance with relevant industry standards, job specifications and discussions with relevant person/s |
|  |  | 2.10 | Methods for dealing with unplanned situations are selected on the basis of safety and specified work outcomes |
|  |  | 2.11 | Diagnosis and rectification activities are carried out efficiently without waste of materials, damage to apparatus, the surrounding environment or services applying sustainable energy practices |
| 3 | Complete and report fault-finding and repair activities | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is made safe in accordance with workplace procedures |
|  |  | 3.3 | Rectification of faults is reported in accordance with workplace procedures |
|  |  | 3.4 | Relevant person/s is notified that the system faults have been rectified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Finding and repairing faults in satellite-based surveillance and observation systems must include at least the following: | two system faults of electronic satellite-based surveillance and observation systems |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH130A Fault find and repair satellite-based surveillance and observation systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEEEC0035 Fault find and repair satellite-based surveillance and observation systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

applying logical diagnostic methods applying relevant risk identification, assessment, reporting and control requirements applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices coordinating work with relevant person/s dealing with unplanned events determining live testing/measurement requirements determining scope of work documenting fault rectification identifying and accessing materials, tools, apparatus and testing devices identifying faults and competency needed to rectify them isolating circuits/machines/system. rectifying faults in system electronics using fault scenarios to test the source of system faults verifying that the system operates correctly.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

satellite-based surveillance and observation systems, fault finding and repair, safe working practices and relevant standards, codes and regulations, including: types of satellite systems and sub-systems earth station locality and antenna parameters link specifications and link calculations base band signalling processes modulation and system access sub-system components (i.e. functional blocks) and their operating parameters environment factors effecting system performance typical faults, their symptoms and cause fault diagnosis procedures and testing component replacement sub-system adjustments relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to diagnosing and rectifying faults in satellite-based surveillance and observation systems applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6