# Assessment Requirements for UEEEC0040 Install commercial video/audio system components

Release: 1

Assessment Requirements for UEEEC0040 Install commercial video/audio system components

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

accurately placing and securing components and accessories applying relevant risk identification, assessment, reporting and control requirements applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices connecting apparatus and associated components to comply with requirements coordinating work with relevant person/s dealing effectively with unplanned events identifying and accessing materials, tools, apparatus and testing devices isolating circuits/machines/systems reading and interpreting drawings of system arrangements and component locations.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

commercial audio/video system installation, including: audio reproduction electronic components: graphic equalisers power and integrated amplifiers preamplifiers audio reproduction audio/video control equipment audio/video recording and replay components basic faults and repairs fundamentals of: sound reproduction speakers loudspeakers and microphones professional audio electronics relevant industry standards, codes and regulations specialist audio/video cabling installation and termination video and display set-up relevant manufacturer specifications relevant job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, equipment and personal protective (PPE) equipment currently used in industry resources that reflect current industry practices in relation to installing commercial audio/video system components applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6