# UEEEC0040 Install commercial video/audio system components

Release: 1

UEEEC0040 Install commercial video/audio system components

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to install commercial video/audio system components. It includes preparing to install audio/video components and systems, installing audio/video system components, completing installation work and reporting. Permits may be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0025 Lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to install audio/video system components | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for relevant work area are identified, obtained and applied |
|  |  | 1.2 | Risk control measures are applied in accordance with workplace procedures prior to commencing work |
|  |  | 1.3 | Risks/hazards are identified, assessed and reported to relevant person/s, and control measures implemented |
|  |  | 1.4 | Nature and location of the work is obtained from relevant person/s to determine the scope of work |
|  |  | 1.5 | Instructions for coordinating work with others are obtained from relevant person/s and applied |
|  |  | 1.6 | Materials required for work are determined in accordance with workplace procedures |
|  |  | 1.7 | Tools, equipment and testing devices required for work are obtained and checked for correct operation and safety |
| 2 | Install audio/video system components | 2.1 | Workplace risk control measures and procedures are applied |
|  |  | 2.2 | Circuits/equipment are checked and isolated, as required, in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Audio/video components are installed in accordance with relevant industry standards and job specifications with sufficient excess to effect terminations |
|  |  | 2.4 | Accessories are installed straight and square in the required locations in accordance with relevant industry standards and job specifications |
|  |  | 2.5 | Cables and conductors are terminated at accessories in accordance with manufacturer specifications and relevant industry standards |
|  |  | 2.6 | Unplanned events are reported to relevant person/s in accordance with workplace procedures |
|  |  | 2.7 | Installation is conducted efficiently without waste of materials, damage to apparatus, circuits or the surrounding environment applying sustainable energy practices |
| 3 | Complete installation work and report | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Relevant person/s is notified of installation completion in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Installing commercial video/audio system components must include at least the following: | installing and connecting one commercial audio/video system components in one building or premise, examples include: dedicated audio and video facilities in meeting rooms video conferencing facilities centrally controlled audio/video facilities |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH110A Install commercial video/audio system components.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6