# UEEEC0048 Program and commission commercial access control security systems

Release: 1

UEEEC0048 Program and commission commercial access control security systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to program and commission commercial access control security systems. It includes programming and testing of security access control system typically used in commercial buildings and premises. It also includes working safely, following specifications, programming security functions, communicating access control system information to the end user/s and providing ‘as-programmed’ documents. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, skills and knowledge described in this unit require a relevant contract of training, such as an Australian Apprenticeship. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. Permits may also be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEC0003 Assemble and set up basic security systems UEEEC0027 Enter instructions and test wired and wireless security systems

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to program commercial access control security system | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are identified obtained and understood |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for commercial access control security system work |
|  |  | 1.3 | Safety hazards not previously identified are risk assessed, documented and risk control measures devised and implemented in consultation with appropriate person/s |
|  |  | 1.4 | Extent of programming and commissioning is determined from reports, documentation and from discussions with relevant person/s |
|  |  | 1.5 | Appropriate person/s is consulted to ensure commercial access control security system work is coordinated effectively with others involved on the worksite |
|  |  | 1.6 | Tools, equipment and testing devices needed to program and commission systems are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Program and commission commercial access control security system | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out commercial access control security system work are followed |
|  |  | 2.2 | Need to test and measure live work is determined in accordance with WHS/OHS requirements and, as required, conducted in accordance with workplace safety procedures |
|  |  | 2.3 | Circuits/machines/plant are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | Security access control instructions and functions are entered into the system in accordance with design specifications |
|  |  | 2.5 | Security access control devices are checked for correct location and alignment |
|  |  | 2.6 | Security access controls are inspected and tested in accordance with commercial access control security system commissioning requirements |
|  |  | 2.7 | Sources of access control anomalies are identified and corrected |
|  |  | 2.8 | Unplanned situations are responded to in accordance with workplace procedures, discussions with appropriate person/s and job specifications and requirements in a manner that minimises risk to personnel and equipment |
|  |  | 2.9 | Methods for dealing with unplanned situations are selected on the basis of safety and specified work outcomes |
|  |  | 2.10 | Programming and commissioning activities are carried out efficiently without waste of materials or damage to apparatus, the surrounding environment or services using sustainable energy practices |
| 3 | Complete and report programming and commissioning activities | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is made safe in accordance with workplace safety procedures |
|  |  | 3.3 | Access control system operating documentation and explanation of system features is communicated to appropriate person/s |
|  |  | 3.4 | ‘As-installed’ security access control system is documented and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Programming and commissioning must include at least the following: | two different commercial security access control systems |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH155A Program and commission commercial access control security systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEEEC0048 Program and commission commercial access control security systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (WHS/OHS) requirements, workplace procedures and practices, including using risk control measures applying sustainable energy principles and practices communicating access control system to appropriate person/s dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment documenting ‘as-installed’ system correctly entering system functions using relevant information technology identifying and correcting function anomalies testing access control functions.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

program loading methods, including relevant information technology program testing methods relevant job safety assessments or risk mitigation processes relevant security systems access control manufacturer specifications relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures security systems access control programming vender programming codes and functions, including: input/output (I/O) instructions variables timers limitations of vender software.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to programming and commissioning commercial security access control systems applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6