# UEEEC0065 Solve problems in basic electronic circuits

Release: 1

UEEEC0065 Solve problems in basic electronic circuits

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to solve electronic circuit problems. It includes determining correct operation of single source parallel and series-parallel circuits and providing electronic solutions. It also includes working safely; applying problem-solving procedures, including the use of voltage, current and resistance measuring devices; and providing solutions derived from measurements and calculations to predictable problems in multiple path circuits. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, skills and knowledge described in this unit require a relevant contract of training, such as an Australian Apprenticeship. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Electronics and Communications

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to work on electronic circuits | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed |
|  |  | 1.3 | Nature of the circuit/s problem is obtained from documentation or from work supervisor to determine the scope of work to be undertaken |
|  |  | 1.4 | Advice is sought from work supervisor to ensure the work is coordinated effectively with relevant person/s |
|  |  | 1.5 | Sources of materials required for work are established in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices needed to carry out the electronic work are obtained and checked for correct operation and safety |
| 2 | Solve electronic circuit problem | 2.1 | WHS/OHS risk control measures and workplace procedures are followed |
|  |  | 2.2 | Need to test and measure live work is determined in accordance with WHS/OHS requirements and conducted in accordance with workplace safety procedures |
|  |  | 2.3 | Electronic circuits are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | Problem solving is approached methodically applying principles of electronic circuits using measured and calculated values |
|  |  | 2.5 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.6 | Electronic circuit problems are solved without unnecessary damage to apparatus, circuits, the surrounding environment or services using sustainable energy practices |
| 3 | Complete work and document problem-solving activities | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Justification for electronic circuit solutions used to resolve circuit problems is documented |
|  |  | 3.4 | Work completion is documented and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Solving problems in basic electronic circuits must include at least the following: | two types of circuit problems in single source parallel and series-parallel electronic circuits |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEH169A Solve problems in basic electronic circuits.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6