# Assessment Requirements for UEEEC0076 Verify compliance and functionality of fire protection system installations

Release: 1

Assessment Requirements for UEEEC0076 Verify compliance and functionality of fire protection system installations

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

acting within regulatory limits applying relevant work health and safety (WHS)/occupational health and safety (WHS/OHS) requirements, including using risk control measures applying sustainable energy principles and practices conducting electrical tests safely and correctly conducting fire alarms and warning tests safely and correctly dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment identifying non-compliant defects from test results identifying visual defects recommending appropriate corrective actions reporting legibly and accurately.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

features of fire protection installations that can be visually inspected fire alarm and warning system routine testing fire protection installations, testing and verification methods relevant inspection and testing techniques relevant job safety assessments or risk mitigation processes relevant mandatory and optional testing and verification requirements applicable to fire protection installations relevant manufacturer specifications relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to verifying compliance and functionality of fire protection installations applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6