# UEEEL0001 Apply compliance requirements to all aspects of electrical work

Release: 1

UEEEL0001 Apply compliance requirements to all aspects of electrical work

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to apply compliance requirements to aspects of electrical work. It includes applying work health and safety (WHS)/occupational health and safety (OHS) requirements for preparing and inspecting electrical installations, and documenting activities and outcomes. This unit is intended for electrical licence holders who, according to the regulatory authority, have exhibited recalcitrance in their licence and/or WHS/OHS duty of care obligations. Competency in this unit can only be gained by persons who hold a current ‘Unrestricted Electrician’s Licence’ issued in an Australian state or territory.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Apply risk management requirements | 1.1 | Access to worksite is obtained in accordance with WHS/OHS requirements and relevant industry standards |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures given in safe work method statements (SWMS) and/or job safety analysis (JSA) documents are identified, followed and applied |
|  |  | 1.3 | WHS/OHS hazards not previously identified are noted, risk assessed and risk control measures implemented in accordance with WHS/OHS procedures |
|  |  | 1.4 | Risk and control measures for a new or changed hazard are documented in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 1.5 | Hazards created by other site activities are referred to appropriate person/s in accordance with workplace procedures |
|  |  | 1.6 | WHS/OHS documents for incidents reports are maintained in accordance with workplace procedures and relevant industry standards |
| 2 | Ensure electrical installations are safe for use | 2.1 | WHS/OHS risk control measures and procedures for carrying out the work are followed |
|  |  | 2.2 | Need to test and measure live work is determined in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Circuits/machines/plant are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | Compliance of an installation is confirmed in accordance with relevant industry standards |
| 3 | Document risk management activities | 3.1 | Non-compliance defects are identified and reported in accordance with workplace procedures |
|  |  | 3.2 | Recommendations for rectifying defects are made in accordance with workplace procedures |
|  |  | 3.3 | Documentation is completed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEG198A Apply compliance requirements to all aspects of electrical work.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6