# UEEEL0006 Develop detailed and complex drawings for electrical systems using CAD systems

Release: 1

UEEEL0006 Develop detailed and complex drawings for electrical systems using CAD systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop detailed and complex drawings for electrical systems using computer-aided design (CAD) systems. It includes 2-D and 3-D drawing formats covering a representative range of electrical systems, such as installations with alternative supplies, installations over 400 ampere (A) per phase at low voltage (LV) and/or high voltage (HV), single or multi-tenancies, heavy plant, switchgear, protection systems, earthing, power factor correction, control equipment, and energy monitoring and management. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECS0033 Use engineering applications software on personal computers UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0007 Develop detailed electrical drawings UEECD0031 Prepare engineering drawings using manual drafting and CAD for electrotechnology applications UEECD0030 Prepare electrotechnology/utilities drawings using manual drafting and CAD equipment and software UEECD0032 Produce detailed electrotechnology/utilities drawings using CAD equipment and software and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to develop detailed and complex drawings for electrical systems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures in preparation for the work are followed |
|  |  | 1.3 | The scope of detailed and complex electrical drawings is interpreted from workplace documentation and/or work instructions |
|  |  | 1.4 | Electrical drawing details required for work are identified in accordance with project specifications and workplace procedures |
|  |  | 1.5 | Relevant personnel are consulted to ensure the work is coordinated effectively with others |
|  |  | 1.6 | Relevant software tools, components, materials and equipment needed for the work are selected in accordance with workplace procedures |
| 2 | Develop detailed and complex drawings for electrical systems | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Design layouts and detailed and complex electrical drawings are determined from project specifications for the electrical systems |
|  |  | 2.3 | Technical data of electrical system component/s are identified to determine parameters to be detailed in electrical drawings |
|  |  | 2.4 | Relevant software tools are used to produce detailed and complex electrical drawings in accordance with workplace procedures |
|  |  | 2.5 | Detailed and complex electrical drawings are checked for accuracy in accordance with project specifications and workplace procedures |
|  |  | 2.6 | Unplanned situations are dealt with safely and in accordance with workplace procedures |
| 3 | Complete detailed and complex drawings for electrical systems | 3.1 | Completed detailed and complex electrical drawings are submitted to relevant person/s to be checked for accuracy in accordance with project specifications and workplace procedures |
|  |  | 3.2 | Alterations, additions or correction instructions are followed and detailed and complex electrical drawings re-submitted for final approval |
|  |  | 3.3 | Completed detailed and complex electrical drawings are documented in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEG180A Develop detailed and complex drawings for electrical systems using CAD systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6