# UEEEL0010 Evaluate and modify low voltage socket outlets circuits

Release: 2

UEEEL0010 Evaluate and modify low voltage socket outlets circuits

# Modification History

Release 2. This is the second release of this unit of competency in the UEE Electrotechnology Training Package. Typographic error fixed in Application Workplace evidence requirements updated in Performance Evidence and Assessment Conditions. Assessor requirements updated in Assessment Conditions.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to evaluate and modify low voltage (LV) socket outlets circuits. It includes working safely, identifying and repairing/replacing faulty socket outlets, ensuring all work complies with relevant Australian Standards and legislation, and completing work and documenting activities. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, a relevant contract of training, such as an Australian Apprenticeship, may be required. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in magnetic and electromagnetic devices UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0023 Terminate cables, cords and accessories for low voltage circuits and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes |  | Performance criteria describe the performance needed to demonstrate achievement of the element |  |
| 1 | Prepare to work on socket outlet circuits | 1.1 | Scope of work is obtained from relevant documentation, electrical drawings or relevant person/s |
|  |  | 1.2 | WHS/OHS requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.3 | Hazards are identified, risks are assessed and control measures are implemented |
|  |  | 1.4 | Advice is sought from work supervisor to ensure the work is coordinated effectively with others |
|  |  | 1.5 | Sources of materials required for work are determined in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices required to carry out work are obtained and checked for correct operation and safety |
| 2 | Evaluate and modify socket outlet circuits | 2.1 | Socket outlets and circuits are checked and arrangement identified |
|  |  | 2.2 | Circuits are checked and isolated in accordance with workplace procedures and regulatory requirements |
|  |  | 2.3 | The need to test or measure live work is determined in accordance with WHS/OHS requirements and, as necessary, conducted in accordance with workplace procedures |
|  |  | 2.4 | Fault/s and probable cause/s are identified from measure and calculated values as they apply to socket outlet circuits |
|  |  | 2.5 | Components are identified and replaced in accordance with manufacturer specifications and industry standards |
|  |  | 2.6 | Unexpected situations are dealt with safely and with the approval of relevant person/s |
| 3 | Complete work and document activities | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Justification for solutions used to modify circuits and equipment is documented |
|  |  | 3.4 | Work completion is documented and an appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Evaluating and modifying LV socket outlets circuits must include at least two of the following socket outlets: | single phase three pin socket outlets three phase four pin socket outlets three phase five pin socket outlets |
| Evaluating and modifying LV socket outlets circuits must include at least three of the following circuits: | circuits supplying 10 A socket outlets circuits supplying 15 A socket outlets circuits supplying 20 A socket outlets circuits supplying 32 A socket outlets |

# Unit Mapping Information

No equivalent unit

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6