# Assessment Requirements for UEEEL0032 Conduct electrical tests on HV electrical machines

Release: 2

Assessment Requirements for UEEEL0032 Conduct electrical tests on HV electrical machines

# Modification History

Release 2. Minor Change. Typographic error in prerequisites corrected.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

dismantling machine and storing parts securely setting up tests correctly taking test readings accurately determining the status of the machine correctly from test results documenting the status of the machine clearly dealing with unplanned events applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures conducting inspection and electrical tests on three phase induction machines, including: following winding specifications preparing stator for winding selecting correct coils following quality procedures, workplace procedures and instructions using tools, equipment and testing devices.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

high voltage (HV) motor testing devices and techniques, including: test/measuring devices and their application connection of test/measuring devices into a circuit encompassing: safety procedures circuit arrangement of test/measuring devices taking and interpreting readings storage, maintenance and care of test/measuring devices problem-solving techniques relevant industry standards relevant job safety assessments or risk mitigation processes relevant manufacturer specifications and operating instructions for tools and equipment relevant quality workplace procedures relevant testing methods relevant tools, equipment and materials relevant WHS/OHS legislated requirements relevant winding data relevant workplace documentation relevant workplace policies, procedures and instructions.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, relevant industry standards, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6