# UEEEL0033 Conduct electrical tests on LV electrical machines

Release: 2

UEEEL0033 Conduct electrical tests on LV electrical machines

# Modification History

Release 2. Minor Change. Typographic error in prerequisites corrected.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to conduct electrical safety and functional inspections and tests of electrical machines designed to operate at low voltage (LV). It includes planning and conducting electrical inspections and tests on induction machines by working safely; setting up and conducting continuity, insulation and short circuit inspections and tests; and interpreting and documenting test results. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, a relevant contract of training, such as an Australian Apprenticeship, may be required. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0023 Terminate cables, cords and accessories for low voltage circuits UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in electromagnetic devices UEEEL0024 Test and connect alternating current (a.c.) rotating machines UEEEL0025 Test and connect transformers and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits and UEEEL0003 Arrange circuits, control and protection for general electrical installations UEEEL0008 Evaluate and modify low voltage heating equipment and controls UEEEL0009 Evaluate and modify low voltage lighting circuits, equipment, and controls UEEEL0010 Evaluate and modify low voltage socket outlets circuits UEEEL0014 Isolate, test and troubleshoot low voltage electrical circuits or UEEEL0056 Place and connect electrical coils UEEEL0068 Rewind three phase low voltage induction machines UEEEL0074 Wind electrical coils

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to conduct electrical inspections and tests on induction machines | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | Existing WHS/OHS risk control measures for work preparation are followed |
|  |  | 1.3 | Scope of work is determined from job specifications and regulatory requirements |
|  |  | 1.4 | Advice is sought from the work supervisor to ensure the work is coordinated effectively with others |
|  |  | 1.5 | Winding data is obtained from winding data records or directly from measurements of stator and recorded in accordance with workplace procedures |
|  |  | 1.6 | Materials required for the work are obtained in accordance with workplace procedures |
|  |  | 1.7 | Tools, equipment and testing devices needed to carry out work are obtained and checked for correct operation and safety |
| 2 | Conduct electrical inspections and tests on induction machines | 2.1 | Existing WHS/OHS risk control work measures are followed |
|  |  | 2.2 | Machines/equipment are inspected, checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Electrical inspection and tests are conducted to establish operational condition of the machine in accordance with workplace procedures and instructions |
|  |  | 2.4 | Serviceability status of the machine is determined from inspection and test results and recorded |
|  |  | 2.5 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.6 | Electrical testing is completed within timeframe, environment and workplace conditions |
| 3 | Complete workplace reports | 3.1 | WHS/OHS work completion risk controls measures are followed |
|  |  | 3.2 | Serviceability status of the machine is documented in accordance with workplace procedures and appropriate person/s notified |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Conducting LV electrical machine inspections and tests must include the following: | inspection and testing of at least one machine prior to routine maintenance, overhaul or repair inspection and testing of at least one machine after routine maintenance, overhaul or repair |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEG157A Conduct electrical tests on LV electrical machines.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEEEL0033 Conduct electrical tests on LV electrical machines

# Modification History

Release 2. Minor Change. Typographic error in prerequisites corrected.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including identifying safety requirements prior to undertaking electrical tests on low voltage (LV) electrical machines applying sustainable energy principles and practices completing workplace reports conducting electrical inspection and tests LV electrical machines, including: conducting testing, including continuity, insulation resistance, short circuit and hi-pot on a magnetic circuit connecting of test/measuring devices into the circuits of LV electrical machines determining the status of the machine correctly from test results documenting machine serviceability status clearly setting up tests correctly taking inspection and test readings accurately ensuring circuits are effectively isolated prior to undertaking tests on LV electrical machines identifying faults in LV machines from data recorded when testing LV electrical machines planning to conduct electrical inspection and tests on LV electrical machines taking and interpreting readings from test/measuring devices while undertaking tests on LV electrical machines using tools safely in accordance with workplace procedures.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

connection of test/measuring devices into a circuit, including safety procedures and circuit arrangement current industry practices and technologies electric motor/machine mechanical measuring, inspecting and testing devices and techniques, including: LV motor/machine inspection and testing devices and techniques relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant safe working practices, including safety procedures when using test/measuring devices relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures storage, maintenance and care of test/measuring devices sustainable energy principles and practices taking and interpreting readings for continuity, insulation resistance, and short circuit tests on a magnetic circuit test/measuring devices and their application, including a multimeter, growler, insulation resistance, continuity and short circuit testers.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry resources that current industry practices in relation to conducting electrical inspection and tests on LV electrical machines applicable documentation, including workplace procedures, equipment specifications, regulations, relevant industry standards, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6