# UEEEL0037 Design electrical installations with a low voltage demand greater than 400 A per phase

Release: 2

UEEEL0037 Design electrical installations with a low voltage demand greater than 400 A per phase

# Modification History

Release 2. Minor Change. Typographic error in prerequisites corrected.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design electrical installations with a low voltage (LV) demand greater than 400 ampere (A) per phase. It includes preparing and developing designing schemes for the protection of persons and property, correct functioning, compatibility with the supply and arrangement of circuits. It also includes determination of fault levels, effective switchgear, control gear, and protection against over-current and over and under-voltage and wiring based on calculations to meet required safety and performance standards and functional requirements. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0003 Arrange circuits, control and protection for general electrical installations UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0023 Terminate cables, cords and accessories for low voltage circuits UEEEL0018 Select wiring systems and cables for low voltage general electrical installations UEEEL0057 Plan electrical installations with a low voltage demand up to 400 A per phase UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in electromagnetic devices UEEEL0008 Evaluate and modify low voltage heating equipment and controls UEEEL0009 Evaluate and modify low voltage lighting circuits, equipment and controls UEEEL0010 Evaluate and modify low voltage socket outlets circuits UEEEL0024 Test and connect alternating current (a.c.) rotating machines UEEEL0025 Test and connect transformers and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design electrical installations | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of the electrical installation is identified from design brief |
|  |  | 1.3 | Electrical installation safety and regulatory requirements are identified, obtained and applied |
|  |  | 1.4 | Design development work is planned in consultation with relevant person/s involved with the work to meet scheduled timelines |
| 2 | Develop installation design | 2.1 | Relevant electrical installation performance standards, compliance methods and electrical equipment is applied to installation design in accordance with relevant industry standards |
|  |  | 2.2 | Alternative installation design/s is developed in accordance with the design brief |
|  |  | 2.3 | Safety, functional and budgetary considerations are incorporated in installation design |
|  |  | 2.4 | Installation design draft is checked in accordance with design brief and relevant industry standards |
|  |  | 2.5 | Installation design is documented for submission to relevant person/s for acceptance and approval |
|  |  | 2.6 | Unplanned situations are dealt with in accordance with workplace procedures |
| 3 | Obtain approval for installation design | 3.1 | Installation design is documented and presented to client representative and/or relevant person/s |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s in accordance with workplace procedures |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with workplace procedures and relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing electrical installations with a LV demand in excess of 400 A per phase switchboard design installation must include at least the following: | main switchboard multiple tenancies distribution boards single and three phase final sub-circuits |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEG127A Design electrical installations with a low voltage demand greater than 400 A per phase.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6