# UEEEL0043 Develop engineering solutions for induction machine and control problems

Release: 1

UEEEL0043 Develop engineering solutions for induction machine and control problems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop engineering solutions for induction machine and control problems. It includes working safely; determining problems; obtaining induction machine operation, construction and application; gathering and analysing solutions; applying problem-solving techniques; and developing and documenting solutions. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEEEL0062 Provide engineering solutions to problems in complex polyphase power circuits UEECD0036 Provide engineering solutions for problems in complex multiple path circuit UEECD0039 Provide solutions to basic engineering computational problems and UEECD0041 Solve electrotechnical engineering problems or UEECD0043 Solve problems in direct current circuits UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in electromagnetic devices or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in electromagnetic devices or UEEEC0074 Troubleshoot resonance circuits in an electronic apparatus UEEEC0065 Solve problems in basic electronic circuits

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to develop engineering solution for induction machine problems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures in preparation for the work are followed |
|  |  | 1.3 | Scope of induction machine problem is determined from performance specifications and/or documentation and in consultation with relevant person/s |
|  |  | 1.4 | Activities are planned to meet scheduled timelines in consultation with others involved in the work |
|  |  | 1.5 | Strategies are formed to ensure solution development and implementation is carried out efficiently |
| 2 | Develop engineering solution | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Induction machine construction, operation, characteristics and applications are applied to developing solutions to induction machine problems |
|  |  | 2.3 | Parameters tested, data taken, specifications and performance requirements to each machine problem are obtained in accordance with workplace procedures |
|  |  | 2.4 | Approaches to resolving induction machine problems are analysed to provide most effective solutions |
|  |  | 2.5 | Unplanned events are dealt with safely and effectively in accordance with relevant industry standards and workplace procedures |
|  |  | 2.6 | Quality of work is monitored in accordance with relevant industry standards and workplace procedures |
| 3 | Implement engineering solution and complete documentation | 3.1 | Solutions to machine problems are tested to determine their effectiveness and modified as required |
|  |  | 3.2 | Adopted solutions are documented, including instruction for implementation with risk control measures |
|  |  | 3.3 | Relevant person/s required to implement solutions to induction machine problems is coordinated in accordance with relevant industry standards and workplace procedures |
|  |  | 3.4 | Justification for solutions used to solve induction machine problems is documented in work/project records in accordance with relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing engineering solutions must include the following: | at least two induction machine problems |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEG145A Develop engineering solutions for induction machine and control problems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6