# UEEEL0057 Plan electrical installations with a low voltage demand up to 400 A per phase

Release: 2

UEEEL0057 Plan electrical installations with a low voltage demand up to 400 A per phase

# Modification History

Release 2. Minor change. Typographic error in prerequisites corrected.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package

# Application

This unit involves the skills and knowledge required to plan electrical installation with a low voltage (LV) demand up to 400 ampere (A) per phase. It includes planning, arranging and identifying resources for an electrical installation. It also includes arrangement of circuits; metering and control; cable route planning; specifying type and rating of switchgear, control gear, protection devices and wiring based on calculated and deemed-to-comply solutions and planning documentation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0003 Arrange circuits, control and protection for general electrical installations UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0023 Terminate cables, cords and accessories for low voltage circuits UEEEL0018 Select wiring systems and cables for low voltage general electrical installations UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in electromagnetic devices UEEEL0008 Evaluate and modify low voltage heating equipment and controls UEEEL0009 Evaluate and modify low voltage lighting circuits, equipment, and controls UEEEL0010 Evaluate and modify low voltage socket outlets circuits UEEEL0024 Test and connect alternating current (a.c.) rotating machines UEEEL0025 Test and connect transformers and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits

# Competency Field

Electrical

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan electrical installation | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) risk control measures and workplace procedures for carrying out work are followed |
|  |  | 1.2 | Nature of the electrical installation is determined from job specifications |
|  |  | 1.3 | Safety and regulatory requirements for electrical installation are identified, obtained and applied in accordance with relevant industry standards and safe work practices |
|  |  | 1.4 | Electricity tariffs required are discussed with appropriate person/s to determine control and metering needs of the installation |
| 2 | Arrange installation circuits, control and metering | 2.1 | Circuits are arranged to ensure safe and functional operation of the installation in accordance with relevant industry standards |
|  |  | 2.2 | Circuits are arranged in accordance with relevant industry standards and job specifications |
|  |  | 2.3 | Control and metering of the installation are arranged in accordance with relevant industry standards and job specifications |
|  |  | 2.4 | Earthing is arranged in accordance with relevant industry standards and energy supplier requirements |
| 3 | Identify cables protection and switchgear | 3.1 | Fault levels at relevant point/s of the installation are determined from calculations and/or information from the energy supplier |
|  |  | 3.2 | Wiring systems selected are confirmed as meeting sustainable energy practices and job specifications |
|  |  | 3.3 | Cable conductor sizes are confirmed to meet current-carrying capacity requirements and voltage-drop and fault-loop impedance limitations and short circuit performance |
|  |  | 3.4 | Protection methods and devices are identified to meet coordination requirements for overload and short circuit protection |
|  |  | 3.5 | Switchgear and control gear are identified to meet fault levels, current voltage and ingress protection (IP) ratings and functional requirements |
|  |  | 3.6 | Earthing system components are identified to meet requirements of the earthing system used |
|  |  | 3.7 | Evidence is obtained that electrical equipment selected is in accordance with WHS/OHS and safe work practices |
| 4 | Document electrical installation plan | 4.1 | Equipment identified for the installation is documented with supporting calculations in accordance with workplace procedures |
|  |  | 4.2 | Electrical installation is documented in accordance with workplace procedures and forwarded to relevant person/s |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Planning electrical installations with a LV demand up to 400 A per phase must include at least the following: | a main switchboard current transformer (CT) metering multiple tariffs or tenants distribution boards - single three phase final sub-circuits |
| Electrical installations must include at least the following: | consumer mains main earthing system and main switchboard and sub-mains earthing system and distribution boards final sub-circuits and requirement particular to the installation type |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEG125A Plan electrical installations with a low voltage demand up to 400 A per phase.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6