# Assessment Requirements for UEEEL0072 Set up and place LV electrical apparatus and associated circuits into service

Release: 2

Assessment Requirements for UEEEL0072 Set up and place LV electrical apparatus and associated circuits into service

# Modification History

Release 2. Minor change. Typographic error in prerequisites corrected.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

selecting appropriate testing/measuring devices making initial adjustments of apparatus and controls correctly finely adjusting apparatus and controls based of measured observations documenting final operating parameters accurately dealing with unplanned events applying relevant industry standards applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures applying sustainable energy practices following job specifications, workplace procedures and instructions setting up electrical apparatus and associated controls, including: locating electrical apparatus and controls.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

commissioning processes and procedures and setting up and placing electrical apparatus and associated circuits into service, including: commissioning processes and procedures encompassing: purpose of commissioning commissioning planning and documentation procedures for configuring, calibrating and tuning systems during commissioning systems procedures for validating system performs to specification procedures followed to commission instrument systems purpose and importance of documentation problem-solving techniques relevant industry standards relevant job safety assessments or risk mitigation processes relevant manufacturer specifications and operating instructions relevant sustainable energy practices relevant tool, equipment and testing/measuring devices relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies, procedures and job specifications.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, relevant industry standards, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6