# UEEHA0019 Conduct a conformity assessment review of explosion-protected equipment

Release: 1

UEEHA0019 Conduct a conformity assessment review of explosion-protected equipment

# Modification History

Release 1. This is the first release of this unit of competency in the Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to assess for conformity single items of explosion-protected equipment or systems, or packaged explosion-protected equipment that has certification documentation however, not covered under industry certification schemes or AS/NZS Standards. It includes: examining, comparing and documenting explosion-protection methods and related protection types; evaluating the certification issued for a single item or system, or packages of explosion- protected equipment against certification requirements for another country/region; and writing a conformity assessment document. This unit applies to personnel involved in engineering functions or maintenance (end users) when considering the selection, installation and maintaining of equipment, packages and systems during a facility life cycle. Site-specific work permits may be required to work in the hazardous environment. In addition, other permits may be required, such as confined space and to operate specific pieces of equipment such as elevated work platforms in various jurisdictions. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. This unit of competency and associated assessment requirements is adopted from clause 2.11 of AS/NZS 4761.1:2018 Competencies for working with electrical equipment for hazardous areas (EEHA). There may be differences between the content of this unit and AS/NZS 4761.1:2018, so the Standard must be checked to ensure compliance with it. Clause 2.11 of AS/NZS 4761.1:2018 also includes the following precondition for assessment: “A candidate seeking assessment in this unit shall have been deemed competent to assess electrical/electronic equipment and perform general technical evaluation at AQF level 7 or NZQF level 7 Bachelor Degree (BD) or equivalent.”

# Pre-requisite Unit

UEEHA0020 Conduct detailed inspection of electrical installations for hazardous areas

# Competency Field

Hazards

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to conduct conformity assessment | 1.1 | Criteria on which the equipment subject to assessment was certified is determined from the original certification documents |
|  |  | 1.2 | Standards against which conformity is to be assessed are obtained and relevant clauses identified and reviewed |
|  |  | 1.3 | Equipment details are obtained to assess relevance of clauses in standards against which conformity is to be assessed |
|  |  | 1.4 | Understanding of certification processes and the requirements for validation of certification documents and manufacturing quality controls is applied |
|  |  | 1.5 | Safety procedures for site inspections are followed where equipment subject to the conformity assessment is installed in an operating plant |
| 2 | Conduct conformity assessment | 2.1 | Conformity assessment is carried out in accordance with WHS and other required procedures |
|  |  | 2.2 | Knowledge of explosion-protection standards is applied to a detailed comparison of standards on which the original certification is based with those of another country/region |
|  |  | 2.3 | The documented certification criteria of the equipment are compared to those required for a given country/region, including any compliance tests on which the certification is based |
|  |  | 2.4 | All information in the equipment certification documents, including that relevant to its use are addressed in the conformity assessment, e.g. installation, maintenance, overhaul/repair and conditions of use |
|  |  | 2.5 | Differences between the certification documentation and that for a given country/region are identified and actions needed to address non-compliant safety issues are recorded |
| 3 | Document and submit conformity assessment report | 3.1 | Results are documented in a conformity assessment document, informing whether the equipment provides an ‘equivalent level of safety’ to be installed, maintained, overhauled/repaired and used safely in a hazardous area |
|  |  | 3.2 | Recommendations for remedial actions, if needed to address non-compliance safety issues, are included in the conformity assessment document |
|  |  | 3.3 | Conformity assessment documentation is forwarded to the appropriate person for inclusion in the hazardous area/explosion-protection compliance records for the site (verification dossier) |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6