# Assessment Requirements for UEEIC0001 Analyse complex electronic circuits controlling fluids

Release: 1

Assessment Requirements for UEEIC0001 Analyse complex electronic circuits controlling fluids

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying problem-solving techniques applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: implementing workplace procedures and practices using of risk control measures analysing electronic circuits controlling fluids dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment documenting instruction for implementing any actions resulting from the analysis that incorporates risk control measure to be followed documenting justification of actions to be implemented in accordance with relevant industry standards forming effective strategies for analysing circuit performance inspecting and testing the results of the analysis obtaining circuit control parameters, specifications and performance requirements appropriate to each situation understanding the operation of electronic and fluid controls documenting and reporting on results of circuit analysis and actions taken preparing to analyse complex circuits controlling fluids.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

control system functions current industry practices and technologies electronic control of fluid processes identification of process characteristics from process test data interfacing electronics with hydraulic and pneumatic devices and systems relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant problem-solving techniques relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures selection of proportional valves to suit fluid applications.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities, equipment currently used in industry resources that reflect current industry practices in relation to analysing complex electronic circuits controlling fluids applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6