# UEEIC0002 Assemble, enter and verify operating instructions in microprocessor equipped devices

Release: 1

UEEIC0002 Assemble, enter and verify operating instructions in microprocessor equipped devices

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to assemble, enter and verify operating instructions in microprocessor equipped device with simple inbuilt programming functions ensuring the device operates as intended. It includes working safely, checking device installation, following written and oral instructions and workplace procedures, and completing necessary documentation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to assemble and enter operating instructions | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | Hazards are identified, risks assessed and control measures implemented |
|  |  | 1.3 | Safety hazards not previously identified are reported on job safety assessment and advice on risk control measures is sought from supervisor |
|  |  | 1.4 | Supervisor/customers are consulted to determine which functions of the device are used and the parameter of each |
|  |  | 1.5 | Tools, equipment and testing devices needed to carry out the work are obtained and checked for correct operation and safety in accordance with workplace procedures |
|  |  | 1.6 | Device installation is checked for compliance with job specification and regulations where required |
| 2 | Assemble and enter operating instructions | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Circuits/machines/plant are checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Required status of each function of the device is entered and their parameters set in accordance with manufacturer programming instructions |
|  |  | 2.4 | Entered data is checked in accordance with specifications stated by work supervisor/customer |
|  |  | 2.5 | Unplanned situations are responded to in accordance with workplace procedures and approval of an authorised person/s |
| 3 | Test device operation and report | 3.1 | Device operation is tested in accordance with workplace procedures |
|  |  | 3.2 | Operating anomalies are identified and corrected in accordance with workplace procedures |
|  |  | 3.3 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.4 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.5 | Work completion is documented and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Assembling, entering and verifying operating instructions must include at least two of the following types of microprocessor equipped devices with inbuilt icon based programmable functions: | programmable relays timers temperature controllers detection devices for security and fire programmable logic controller (PLC) |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI116A Assemble, enter and verify operating instructions in microprocessor equipped devices.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6