# UEEIC0006 Design and configure Human-Machine Interface (HMI) networks

Release: 1

UEEIC0006 Design and configure Human-Machine Interface (HMI) networks

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design and configure human-machine interface (HMI) networks. It includes applying safe working practices; designing, installing and configuring controllers and devices; monitoring system operations; diagnosing malfunctions and faults; and documenting development activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Select and design HMI control system network | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Hazards are identified, WHS/OHS risks assessed, and control measures and workplace procedures are implemented in preparation for work |
|  |  | 1.3 | Scope of HMI control system network is determined from network specifications/design brief and in consultation with relevant person/s |
|  |  | 1.4 | Activities are planned to meet scheduled specifications/design brief timelines in consultation with person/s involved in the work |
|  |  | 1.5 | Management tools and software are selected based on specified requirements and performance standards |
|  |  | 1.6 | Strategies are implemented to ensure network development is carried out efficiently |
| 2 | Install, configure and manage HMI control system network | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Network infrastructure components are installed and configured in accordance with industry standards and variants as specified for the network |
|  |  | 2.3 | Structural components of directory services are installed and configured in accordance with industry standards and variants as specified for the network |
|  |  | 2.4 | Management components of network control system are configured in accordance with industry standards and requirements specified for the network |
|  |  | 2.5 | Security components of network control system are created in accordance with industry standards and requirements specified for the network |
|  |  | 2.6 | Network malfunctions/faults are identified and rectified using logical problem-solving techniques of complex network control system infrastructure |
|  |  | 2.7 | Network is monitored and solutions are developed to optimise network performance and reliability in accordance with workplace procedures |
|  |  | 2.9 | Security events are analysed and actions taken in accordance with workplace policies and protocols |
|  |  | 2.10 | Methods for dealing with unplanned issues/problems are analysed to provide the most effective solutions in accordance with workplace procedures |
|  |  | 2.11 | Quality of work is monitored in accordance with performance agreement/specifications and/or workplace procedures or industry standards |
| 3 | Report HMI network administration activities | 3.1 | Written justification is produced for HMI network services development activities and relevant person/s notified in accordance with workplace procedures |
|  |  | 3.2 | Network service development records are maintained in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing and configuring HMI networks must include at least the following: | controllers and devices installation and configuration development activities documentation malfunctions and faults diagnostics operation of distributive and central control system networks monitoring and maintenance safe working practices system operations monitoring |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI153A Design and configure Human-Machine Interface (HMI) networks.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6