# UEEIC0011 Develop electrical integrated systems

Release: 1

UEEIC0011 Develop electrical integrated systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop electrical integrated systems. It includes working safely; analysing and adapting project specifications, device applications and capabilities; system programming methods using diagnostic tools in developing and documenting an electrical integrated system. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Where prerequisite pathways have been identified, all competencies in the Common Unit Group must be have been completed plus all the competencies in one (1) of the identified Pathway Unit Group(s) Common Unit Group ICTICT203 Operate application software packages UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications Electrotechnology Pathway Group UEECD0025 Lay wiring/cabling and terminate accessories for extra-low voltage (ELV) circuits Electrical Pathway Group UEEEL0023 Terminate cables, cords and accessories for low voltage circuits

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to develop an electrical integrated system | 1.1 | Types and locations of loads and control devices are determined from project specifications and customer requirements |
|  |  | 1.2 | Number of control bus networks and current requirements are determined from load calculations for devices |
|  |  | 1.3 | Appropriate placement of system devices in system scheme is determined from bus network power and load parameters whilst maintaining system stability |
|  |  | 1.4 | Integrated system is developed to comply with regulator safety and manufacturer specifications |
|  |  | 1.5 | Number of devices and accessories required for the system is documented using manufacturer title and identification (ID) for each component |
|  |  | 1.6 | Relevant programming and diagnostic tools are downloaded to compatible computer and checked for accurate operation and safety |
| 2 | Program integrated system devices | 2.1 | Hazards are identified, risks assessed and control measures implemented |
|  |  | 2.2 | Modes of programming are applied to developing the electrical integrated system in accordance with manufacturer and programming software instructions |
|  |  | 2.3 | Manufacturer instructions and recommendations are followed when programming system devices to project specifications |
|  |  | 2.4 | Parameters for operation of loads are programmed to project specifications within manufacturer designated range |
|  |  | 2.5 | Programmed system database is saved and backed up in accordance with manufacturer instructions |
| 3 | Load and test electrical integrated system | 3.1 | Work health and safety (WHS)/occupational health and safety (OHS) risk control work measures and workplace procedures are followed |
|  |  | 3.2 | Database of integrated system programs are transferred to the network in accordance with workplace procedures |
|  |  | 3.3 | Integrated system functions are tested for compliance with project and manufacturer specifications |
|  |  | 3.4 | Diagnostic tools are used to locate system faults, defects or anomalies |
|  |  | 3.5 | Defects or anomalies are corrected to comply with project requirements and manufacturer specifications |
|  |  | 3.6 | Integrated system is documented and a copy given to client/representative |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing electrical integrated systems must include the following: | six of the following functions: corridor linking direct load control energy saving on dimmers light level maintenance multiple load control panic button passive infrared sensor (PIR) enable/disable restrike delays scenes two-way switching typical master bedroom using more than one programming mode transferring a program database to a network and testing functionality finding at least five hardware and five software faults |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI141A Develop electrical integrated systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6