# UEEIC0012 Develop structured programs to control external devices

Release: 1

UEEIC0012 Develop structured programs to control external devices

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop structured programs to control an external device. It includes identifying and developing structured programs for control sub-systems. It also includes testing and documenting structured programs for control sub-systems. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify structured program requirements for control sub-system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures are identified and applied |
|  |  | 1.2 | Hazards are identified, risks are assessed and control measures implemented |
|  |  | 1.3 | Extent of structured programming is determined from job specifications and consultations with relevant person/s |
|  |  | 1.4 | Activities are planned to meet scheduled timelines in consultation with relevant person/s |
|  |  | 1.5 | Development kit and software are selected from job specifications and in accordance with workplace procedures |
|  |  | 1.6 | Strategies are implemented to ensure programming is written in accordance with workplace procedures |
| 2 | Develop structured programs for control sub-system | 2.1 | WHS/OHS risk control measures and procedures for carrying out the work are followed |
|  |  | 2.2 | Information technology functions are applied to develop structured programs |
|  |  | 2.3 | Correct structure and syntax are applied to developing structured program |
|  |  | 2.4 | Programming languages are applied to structured programs to develop and test solutions |
|  |  | 2.5 | Issues/problems are analysed to identify and apply solutions |
|  |  | 2.6 | Quality of work is monitored in accordance with workplace procedures |
| 3 | Test and document structured program for control sub-system | 3.1 | Developed program is tested in accordance with workplace procedures and manufacturer specifications |
|  |  | 3.2 | Programming anomalies are identified and corrected in accordance with workplace procedures and manufacturer specifications |
|  |  | 3.3 | Work reports are written in accordance with workplace procedures and presented to relevant person/s |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing structured programs to control external devices for a given representative range of programs and control devices must include the following attributes: | safe working practices control applications knowledge application analogue or digital input/output (I/O) signals program writing and testing documenting programming changes |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI155A Develop structured programs to control external devices.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6