# UEEIC0013 Develop, enter and verify discrete control programs for programmable controllers

Release: 1

UEEIC0013 Develop, enter and verify discrete control programs for programmable controllers

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop, enter and verify programs for programmable logic controller (PLC) (also known as programmable controller) for a system requiring discrete control functions. It includes working safely, using control systems and control system development methods, using ladder diagrams/statement list/function block diagram instruction sets, following written instructions, and documenting program development and testing activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify control system requirements | 1.1 | PLC operating functions, parameters and specifications are determined from relevant documentation, electrical drawings or persons to determine the control system scope of work |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified and applied |
|  |  | 1.3 | Control system scenario is developed from job specifications of process/plant/machine controlled through consultation with relevant person/s |
|  |  | 1.4 | PLC block diagram is developed using industry standard symbols |
|  |  | 1.5 | Infotechnology equipment, software and measuring devices needed to carry out the PLC work are obtained and checked for correct operation and safety |
|  |  | 1.6 | Installation of PLC is checked for compliance with relevant industry standards, regulations and job specifications |
| 2 | Develop control system, enter and test program | 2.1 | Established WHS/OHS risk control measures and procedures for carrying out the work are followed. |
|  |  | 2.2 | Circuits/machines/plant are checked and isolated in accordance with workplace procedures |
|  |  | 2.3 | Control system solutions are developed and documented based on specified control mode and using acceptable methods for designing control systems |
|  |  | 2.4 | Developed control system is converted to an appropriate form |
|  |  | 2.5 | Program is entered into the PLC using appropriate infotechnology and software |
|  |  | 2.6 | Entered instructions and settings are tested in accordance with job specifications by control system scenario |
|  |  | 2.7 | Appropriate methods and tools are used to test control system and operating faults and anomalies are identified and rectified |
|  |  | 2.8 | Unplanned situations are responded to in accordance with workplace procedures, in a manner that minimises risk to persons and equipment |
| 3 | Verify document and report programming activities | 3.1 | WHS/OHS work completion risk control measures and procedures are followed |
|  |  | 3.2 | Program is transferred from PLC to external medium for storage |
|  |  | 3.3 | Control system specification and program are documented in accordance with workplace procedures |
|  |  | 3.4 | Work completion is documented and relevant persons notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing, entering and verifying programs for PLCs must include at least five (5) of the following functions/controls: | bit shift registers cascading counters cascading timers combining timers and counters constant duty cycle derived timers (off delay) internal relays/flags/markers jump instructions latching relays (set/reset) master control instructions one shot retentive (power fail) functions reversible counters scan time considerations self-resetting simple step sequence instructions |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI150A Develop, enter and verify discrete control programs for programmable controllers.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6