# UEEIC0021 Find and rectify faults in process final control elements

Release: 1

UEEIC0021 Find and rectify faults in process final control elements

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to find and rectify faults in process final control elements. It includes working safely, interpreting valve specifications, applying knowledge of final control elements operating parameters, conducting tests and repairs, and completing the necessary service documentation. Permits may be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEIC0047 Use instrumentation drawings, specifications, standards and equipment manuals UEEIC0023 Install instrumentation and control cabling and tubing UEEIC0022 Install instrumentation and control apparatus and associated equipment

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to find and repair faults in final control elements | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for the work |
|  |  | 1.3 | Scope of final control element fault is obtained from documentation tests and/or work supervisor to determine work |
|  |  | 1.4 | Need to inspect, test and measure operating systems is determined in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 1.5 | Advice is sought from work supervisor to ensure the work is coordinated effectively with others |
|  |  | 1.6 | Sources of materials required for work are determined in accordance with workplace procedures |
|  |  | 1.7 | Tools, equipment and testing devices required to carry out work are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Find faults in final control elements and associated equipment | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Apparatus is checked and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Fault finding is approached using processes control valves, actuators and positioners using measured and calculated values in accordance with workplace procedures |
|  |  | 2.4 | Apparatus components are dismantled, as required, and parts stored to protect against loss or damage in accordance with workplace procedures |
|  |  | 2.5 | Faulty components are rechecked and fault status confirmed in accordance with workplace procedures |
|  |  | 2.6 | Unplanned situations are dealt with safely and with the approval of relevant person/s |
|  |  | 2.7 | Fault-finding activities are carried out without damage to apparatus, circuits, the surrounding environment or services using sustainable energy principles |
| 3 | Rectify faults in final control elements and associated equipment | 3.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 3.2 | Apparatus is inspected and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 3.3 | Materials required to rectify faults are sourced and obtained in accordance with workplace procedures |
|  |  | 3.4 | Rectification and repairs are conducted without damage to components, apparatus or circuits |
|  |  | 3.5 | Repairs are tested in accordance with workplace procedures |
|  |  | 3.6 | Apparatus is reassembled, tested and prepared for return to service |
|  |  | 3.7 | Repairs are carried out without damage to apparatus, circuits, the surrounding environment or services using sustainable energy principles |
| 4 | Complete and report fault-finding and rectification activities | 4.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 4.2 | Work area is cleaned and made safe in accordance with workplace procedures |
|  |  | 4.3 | Repairs to control valves is documented in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Finding and rectifying faults in final control elements must include at least two of the following: | final control elements associated equipment |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI111A Find and rectify faults in process final control elements.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6