# UEEIC0034 Set up industrial field control devices

Release: 1

UEEIC0034 Set up industrial field control devices

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to set up an industrial field control device. It includes identifying, setting up, testing and documenting industrial field control device. It also includes following design briefs, operating principles, interpreting device specifications, following manufacturer specifications and testing device operation parameters. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Where prerequisite pathways have been identified, all competencies in the Common Unit Group must be have been completed plus all the competencies in one (1) of the identified Pathway Unit Group(s) Common Unit Group UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEIC0020 Fault find and repair analogue circuits and components in electronic control systems UEEIC0018 Diagnose and rectify faults in digital controls systems UEEEL0019 Solve problems in direct current (d.c.) machines UEEEL0021 Solve problems in magnetic and electromagnetic devices and UEECD0043 Solve problems in direct current circuits or UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits Electrical Pathway Group UEEEL0003 Arrange circuits, control and protection for electrical installations UEEEL0023 Terminate cables, cords and accessories for low voltage circuits UEEEL0014 Isolate, test and troubleshoot low voltage electrical circuits UEEEL0008 Evaluate and modify low voltage heating equipment and controls UEEEL0009 Evaluate and modify low voltage lighting circuits, equipment and controls UEEEL0010 Evaluate and modify low voltage socket outlets circuits UEEEL0024 Test and connect alternating current (a.c.) rotating machines UEEEL0025 Test and connect transformers Instrumentation and Control Pathway Group UEECD0045 Solve problems in multiple path extra-low voltage (ELV) a.c. circuits UEEIC0047 Use instrumentation drawings, specifications, standards and equipment manuals UEEIC0041 Solve problems in pressure measurement components and systems UEEIC0038 Solve problems in density/level measurement components and systems UEEIC0039 Solve problems in flow measurement components and systems UEEIC0043 Solve problems in temperature measurement components and systems UEEIC0029 Set up and adjust PID control loops UEEIC0030 Set up and adjust advanced PID process control loops UEEIC0048 Verify compliance and functionality of instrumentation and control installations UEEIC0031 Set up and configure human-machine interface (HMI) and industrial networks

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify industrial field control device | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures are identified and applied |
|  |  | 1.2 | Hazards are identified, risks are assessed, and control measures implemented |
|  |  | 1.3 | Industrial field control devices are determined from control system specifications and consultation with relevant person/s |
|  |  | 1.4 | Work activities are planned to meet scheduled timelines in consultation with relevant person/s |
|  |  | 1.5 | Tools, equipment and testing devices required for work are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Set up industrial field control device | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Industrial field control devices are set up and operated in accordance with manufacturer instructions |
|  |  | 2.3 | Industrial field control devices are positioned and adjusted in accordance with operating principles manufacturer instructions |
|  |  | 2.4 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.5 | Industrial field control devices are set up using sustainable energy principles without waste of materials, damaging apparatus, surrounding environments or services in accordance with workplace procedures |
| 3 | Test and document set-up of industrial field control device | 3.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 3.2 | Operating anomalies are identified and corrected in accordance with workplace procedures |
|  |  | 3.3 | Work completion is documented in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Setting up industrial field control devices must include at least four of the following: | measurement/detection of flow temperature pressure density weight level smoke motion |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI119A Set up industrial field control devices.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6