# UEEIC0045 Troubleshoot medical equipment control systems

Release: 1

UEEIC0045 Troubleshoot medical equipment control systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to troubleshoot medical equipment control systems. It includes applying safe working practices, interpreting processes, applying knowledge of medical process controls to logical fault-finding procedures, conducting effective repairs, performing safety and functional inspection and testing, and completing service documentation. Permits may be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Instrumentation & Control

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to find and rectify faults in medical equipment control systems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for the work |
|  |  | 1.3 | Scope of medical equipment control system fault is obtained from documentation and/or work supervisor to determine work |
|  |  | 1.4 | Advice is sought from work supervisor to ensure work is coordinated effectively with others |
|  |  | 1.5 | Sources of materials required for work are identified in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices required to carry out work are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Find faults in medical equipment control systems | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Need to inspect, test and measure live work is determined in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Apparatus is inspected and isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | Fault finding of medical equipment control systems is conducted using measured and calculated system parameters values in accordance with workplace procedures |
|  |  | 2.5 | Apparatus components are dismantled, as required, and parts stored to protect against loss or damage in accordance with workplace procedures and relevant industry standards |
|  |  | 2.6 | Faulty components are rechecked and fault status confirmed |
|  |  | 2.7 | Unplanned situations are dealt with safely and with the approval of relevant person/s |
|  |  | 2.8 | Fault-finding activities are carried out without damage to apparatus circuits, the surrounding environment or services using sustainable energy principles |
| 3 | Rectify faults in medical equipment control systems | 3.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 3.2 | Apparatus is inspected and isolated in accordance with WHS/OHS and workplace procedures |
|  |  | 3.3 | Materials required to rectify faults are sourced and obtained in accordance with workplace procedures |
|  |  | 3.4 | Repairs are conducted without damage to relevant components or apparatus in accordance with workplace procedures and sustainable energy principles |
|  |  | 3.5 | Repairs are tested in accordance with workplace procedures |
|  |  | 3.6 | Apparatus is reassembled, inspected, tested and prepared for return to customer |
| 4 | Complete and report fault-finding and rectification activities | 4.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 4.2 | Work area is cleaned and made safe in accordance with workplace procedures |
|  |  | 4.3 | Written justification is made for repairs to apparatus |
|  |  | 4.4 | Work completion is documented and relevant person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Finding and rectifying faults must include at least two of the following: | cardiovascular systems respiratory systems neurological systems renal systems medical imaging physiological equipment miscellaneous medical equipment |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEI115A Trouble shooting in medical equipment control systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6