# Assessment Requirements for UEERA0001 Analyse the operation of HVAC air and hydronic systems

Release: 1

Assessment Requirements for UEERA0001 Analyse the operation of HVAC air and hydronic systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

understanding the operating performance forming effective strategies for analysing air conditioning systems performance obtaining operating parameters, specifications and performance requirements appropriate to each situation evaluating the results of the analysis documenting analysis details of all findings, calculations and assumptions documenting justification of actions to be implemented in accordance with professional standards dealing with unplanned events analysing the operation of heating, ventilation and air conditioning (HVAC) air and hydronic systems applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures preparing to analyse the operation of HVAC air and hydronic systems.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

HVAC air systems, safe working practices and relevant standards, codes and regulations, including: air distribution principles: air diffuser selection factors affecting the design of ductwork systems types of ductwork systems static, velocity and total pressure laminar and turbulent flow moody diagram parameters that control cost pressure loss: friction and dynamic colebook - White formula in ducts and friction charts in fittings and loss co-efficient fitting selection criteria diffuser pressure loss system sizing: velocity method equal friction method static regain method balanced pressure drop method circular to rectangular equivalent standard duct sizes and gauges balancing heat and leakage losses: heat gain/loss calculation bare vs. insulated leakage overview of noise in duct systems: noise sources in duct systems attenuation impact on design methods of control fans: types and characteristics fan laws system effect fan selection fan and system curves air systems: dual and single duct constant volume variable volume induction units multi-zone diversity factors HVAC systems HVAC hydronic systems, safe working practices and relevant standards, codes and regulations, including: systems operation closed/open systems pump head/lift and static head (high-rise building) system friction losses nett positive suction head system curves pumps: types selection criteria performance characteristics bladder tanks coil characteristics heat exchangers: plate, shell and tube, and tube in tube flow measurements: types flow switchers builders: types and performance characteristics cooling towers: elementary cooling thermodynamics and types valves - flow control devices: types and applications throttling characteristics flow measurements selection and applications piping systems: balancing and commissioning air venting water treatment vacuum breaking and air breaks relevant industry standards relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace quality, policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities and equipment currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6