# UEERA0001 Analyse the operation of HVAC air and hydronic systems

Release: 1

UEERA0001 Analyse the operation of HVAC air and hydronic systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to analyse the operating parameters of heating, ventilation and air conditioning (HVAC) air and hydronic systems. It includes working safely, applying knowledge of operating parameters, gathering and analysing data, applying problem-solving techniques, and developing and documenting results and solutions for use in design work. The skills and knowledge described in this unit may, in some jurisdictions, require a licence or permit to practice in the workplace subject to regulations for undertaking refrigeration and air conditioning work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0002 Analyse the psychrometric performance of HVAC/R systems UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to analyse the operation of HVAC air and hydronic systems | 1.1 | WHS/OHS processes and procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for the work |
|  |  | 1.3 | Operating analysis is determined from performance specifications, situation reports and consultations with relevant person/s |
|  |  | 1.4 | Activities are planned to meet scheduled timelines in accordance with workplace procedures and consultations with others involved in the work |
|  |  | 1.5 | Strategies are formed for solution development and implementation is carried out in accordance with workplace procedures |
| 2 | Analyse the operation of systems | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Principles of HVAC air and hydronic systems operating parameters are applied to analytical solutions to refrigeration and air conditioning systems |
|  |  | 2.3 | Parameters, specifications and performance requirements in relation to HVAC air and hydronic systems are obtained in accordance with workplace procedures |
|  |  | 2.4 | Analysis of operating parameters is carried out to provide solution in accordance with workplace procedures |
|  |  | 2.5 | Unplanned events are dealt with safely in accordance with relevant industry standards and workplace procedures |
|  |  | 2.6 | Quality of work is monitored in accordance with workplace procedures and relevant industry standards |
| 3 | Report on results of operation systems analysis and actions taken | 3.1 | Results of system operating analysis are evaluated to determine performance requirements in accordance with workplace procedures and performance specifications |
|  |  | 3.2 | Analysis, findings, calculations and assumptions are documented in accordance with workplace procedures |
|  |  | 3.3 | Analysis is reported to relevant person/s to determine relevant action in accordance with workplace procedures |
|  |  | 3.4 | Justification for findings and actions to be undertaken in relation to equipment is documented in relevant work/project and/or development records in accordance with relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Analysing operating parameters must include at least the following: | two different HVAC systems |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ164A Analyse the operation of HVAC air and hydronic systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6