# UEERA0003 Analyse the thermodynamic performance of HVAC/R systems

Release: 1

UEERA0003 Analyse the thermodynamic performance of HVAC/R systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to analyse the thermodynamic performance of heating, ventilation and air conditioning/refrigeration (HVAC/R) systems. It includes analysing HVAC/R systems and providing solutions to thermodynamic performance issues. It also includes working safely, gathering and analysing thermodynamic performance data, applying problem-solving techniques, and developing and documenting results and solution/s. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to analyse thermodynamic performance of HVAC/R system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for HVAC/R work |
|  |  | 1.3 | Extent of the thermodynamic issues are determined from performance specifications and situation reports and in consultation with relevant person/s |
|  |  | 1.4 | HVAC/R activities are planned to meet scheduled timelines in consultation with others involved in the work |
|  |  | 1.5 | Strategies are formed to ensure HVAC/R analysis and solution implementation is carried out efficiently in accordance with workplace procedures |
| 2 | Analyse thermodynamic performance of HVAC/R system | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out HVAC/R work are followed |
|  |  | 2.2 | Thermodynamic principles are applied to analytical solutions to HVAC/R system |
|  |  | 2.3 | Parameters, specifications and performance requirements in relation to HVAC/R system are obtained in accordance with workplace procedures |
|  |  | 2.4 | Analysis of HVAC/R thermodynamic parameters is carried out to provide effective solution/s |
|  |  | 2.5 | Unplanned events are dealt with safely and effectively in accordance with regulatory requirements and workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.6 | Quality of work is monitored against performance agreement and/or workplace procedures or industry standards |
| 3 | Document and report results of the HVAC/R thermodynamic performance analysis and actions taken | 3.1 | Solutions to HVAC/R thermodynamic issues are evaluated to determine their effectiveness and modified, as required |
|  |  | 3.2 | HVAC/R analysis is documented and includes details of findings, calculations and assumptions |
|  |  | 3.3 | HVAC/R analysis is reported to appropriate person/s to determine appropriate action to be taken based on findings |
|  |  | 3.4 | Justification for findings and any actions to be undertaken in relation to the HVAC/R equipment is documented for inclusion in work/project or development records in accordance with industry standards and workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Analysing thermodynamic parameters of HVAC/R systems must include at least the following: | two different refrigeration and air conditioning systems |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ193A Analyse the thermodynamic performance of HVAC/R systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6