# UEERA0006 Apply safety awareness and legal requirements for carbon dioxide refrigerant

Release: 1

UEERA0006 Apply safety awareness and legal requirements for carbon dioxide refrigerant

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to apply safety awareness and legal requirements for carbon dioxide (CO²) refrigerant. It includes applying safety and legal requirements when handling, using and storing CO² refrigerants. The skills and knowledge in this unit will be applied by those managing, supervising or working in or near a location that contains refrigeration equipment using CO² refrigerant. These could include managers, supervisors, maintenance staff, cleaners, employees and refrigeration and air conditioning technicians No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to work with CO² refrigerant | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) hazards, risk control methods, relevant standards, codes and legislation are obtained and applied in accordance with workplace procedures |
|  |  | 1.2 | Electrical and non-electrical isolation are identified and carried out to prevent creation of hazards from loss of machine/system/process control in accordance with workplace procedures |
|  |  | 1.3 | Tools and equipment needed for the work are checked for safety and correct functionality in accordance with workplace procedures and regulatory requirements |
| 2 | Apply safe work practices in using CO²refrigerant | 2.1 | CO² refrigerant workplace procedures and work instructions for controlling risk are followed |
|  |  | 2.2 | Accidents, fires and emergencies are responded to in accordance with workplace procedures and within scope of own responsibility in a manner that minimises risk to personnel and equipment |
| 3 | Follow workplace procedures for hazard identification and risk control of CO²refrigerant | 3.1 | CO² refrigerant hazards are identified, risk assessed and control measures implemented and monitored through active participation in the consultation process with work supervisor and others |
|  |  | 3.2 | WHS/OHS incident records are completed in accordance with regulatory requirements and workplace procedures |
|  |  | 3.3 | CO² refrigerant workplace instructions and training are followed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Applying safety awareness and legal requirements for CO² refrigerant must include the following: | safe handling, storage and transport of CO² refrigerant cylinders labelling requirement for CO² refrigerant cylinders and systems containing CO² refrigerant personal protective equipment (PPE) required for the safe handling of CO² refrigerant |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ184A Apply safety awareness and legal requirements for carbon dioxide refrigerant.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6