# Assessment Requirements for UEERA0007 Apply safety awareness and legal requirements for flammable refrigerants

Release: 1

Assessment Requirements for UEERA0007 Apply safety awareness and legal requirements for flammable refrigerants

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures applying safe working practices to safely handle and store flammable refrigerant cylinders applying work procedures and instructions as they apply to risk control measures dealing with accidents and emergencies within the scope of responsibility dealing with unplanned events following workplace procedures for hazard identification and risk control of flammable refrigerants participating in consultation processes, identifying hazards and implementing and monitoring control measures preparing to enter the workplace, including using work permits and clearances and isolation permissions preparing to work with flammable refrigerants.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

emergency procedures and incident management requirements and procedures first aid problem-solving techniques refrigerant disposal requirements relevant acts, regulations, code of practice and industry standard requirements relevant cylinders and storage requirements relevant environmental issues relevant flammable refrigerant types and applications relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures types of Class A2, A2L and A3 flammable refrigerants.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities and equipment currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6