# UEERA0020 Design complex industrial refrigeration systems and select equipment

Release: 1

UEERA0020 Design complex industrial refrigeration systems and select equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design complex industrial refrigeration systems and select equipment. It includes applying system processes and methods of industrial refrigeration systems, safety and relevant industry standards; developing alternative design schemes based on a design brief and customer requirements; and documenting system designs. The skills and knowledge described in this unit may, in some jurisdictions, require a licence or permit to practice in the workplace subject to regulations for undertaking refrigeration and air conditioning work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0025 Design industrial refrigeration systems and select components UEERA0004 Analyse vibration and noise in refrigeration and air conditioning systems UEERA0038 Establish the thermodynamic parameters of refrigeration and air conditioning systems UEERA0034 Establish heat loads for commercial refrigeration and/or air conditioning applications UEERA0016 Design commercial refrigeration systems and select components UEERA0042 Evaluate thermodynamic and fluid parameters of refrigeration systems UEERA0001 Analyse the operation of HVAC air and hydronic systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems and UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design complex industrial refrigeration system | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for the work |
|  |  | 1.3 | Scope of the refrigeration system is determined from the design brief and/or consultations with relevant person/s |
|  |  | 1.4 | Design development work is planned in accordance with workplace procedures for timelines in consultation with others involved |
| 2 | Design complex industrial refrigeration system | 2.1 | Relevant industrial refrigeration system processes and methods are applied to the design |
|  |  | 2.2 | Alternative concepts for design are evaluated in accordance with the design brief |
|  |  | 2.3 | Safety, functionality and budgetary considerations are incorporated in the design specifications |
|  |  | 2.4 | System design draft is checked for compliance in accordance with the design brief and relevant industry standards |
|  |  | 2.5 | System design is documented and submitted to relevant person/s for approval in accordance with workplace procedures |
|  |  | 2.6 | Unplanned events are dealt with in accordance with problem-solving techniques and workplace procedures |
| 3 | Obtain approval for complex industrial refrigeration system design | 3.1 | System design is presented to customer and/or relevant person/s in accordance with workplace procedures |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s in accordance with workplace procedures |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s in accordance with workplace procedures |
|  |  | 3.4 | Quality of work is monitored in accordance with workplace procedures and relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing a complex industrial refrigeration system must include at least the following: | one multiple major component, including: compressors condenser evaporators circuits and/or systems associated components and controls |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ142A Design complex industrial refrigeration systems and select equipment.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEERA0020 Design complex industrial refrigeration systems and select equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

developing outlines of alternative designs developing the design within the safety, regulatory, functional requirements and budget limitations documenting and presenting design effectively negotiating design alteration requests successfully obtaining approval for final design dealing with unplanned events applying relevant industrial refrigeration system processes and methods applying relevant work health and safety (WHS)/occupational health and safety (WHS/OHS) requirements, including using rick control measures designing complex commercial refrigeration system preparing to design complex industrial refrigeration system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

complex industrial refrigeration system design, safe working practices and relevant standards, codes and regulations including: AS/NZS 1677 Refrigerating systems SAA refrigeration code ANSI/IIAR standards ANSI/ASHRAE standards IIAR bulletins moderate and low temperature industrial refrigeration systems: direct, flooded and pumped liquid recirculation systems evaporators multi-staged compression direct staging cascade staging compound compressors de-superheaters and liquid injection direct expansion intercoolers open and closed intercoolers basic designs of accumulators/intercooler vessels oil cooling methods oil stabilisation, return and oil recovery in flooded systems multiple evaporators and multiple compressors: parallel evaporators multiple temperature systems evaporator pressure regulators temperature control methods parallel compressors pipe work layout methods of establishing pressure drop in dry and wet suction lines indirect refrigeration systems: classification according to AS/NZS 1677 Refrigerating systems SAA refrigeration code applications evaporators heat exchangers, types, construction and selection secondary refrigerants brines antifreeze solutions flooded systems: applications equipment accumulators level controls liquid recirculation pumps liquid pressure relief valve cryogenic systems: applications and equipment system components refrigerants design safety economics cascade systems basic control sequences: maintaining evaporator conditions staging and suction pressure control maintaining condenser conditions control of intermediate pressure, methods of industrial refrigeration compressor capacity control system design: required cooling capacity per day running time and required system cooling capacity system capacity control for peak and low load refrigeration system diagrams refrigerant, equipment, major component, controls, piping and accessory selection problem-solving techniques relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant WHS/OHS legislated requirements relevant workplace budget, quality, policies and procedures relevant workplace documentation.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities and equipment currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6