# UEERA0025 Design industrial refrigeration systems and select components

Release: 1

UEERA0025 Design industrial refrigeration systems and select components

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design industrial refrigeration systems and select components. It includes applying processes and methods of refrigeration and food storage technology, industrial refrigeration system components and piping, safety and relevant industry standards. It also includes following design specifications and customer requirements, and documenting system designs. The skills and knowledge described in this unit may, in some jurisdictions, require a licence or permit to practice in the workplace subject to regulations for undertaking refrigeration and air conditioning work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0016 Design commercial refrigeration systems and select components UEERA0042 Evaluate thermodynamic and fluid parameters of refrigeration systems UEERA0038 Establish the thermodynamic parameters of refrigeration and air conditioning systems UEERA0001 Analyse the operation of HVAC air and hydronic systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems and UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design industrial refrigeration systems | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of the refrigeration system is determined from design specifications |
|  |  | 1.3 | Safety and systems are identified, obtained and applied in accordance with relevant industry standards |
|  |  | 1.4 | Work supervisor and/or customer/s are consulted to determine functions and parameter of the system required in accordance with design specifications and workplace documentation |
|  |  | 1.5 | Design development work is planned in accordance with workplace procedures for timelines in consultation with others involved |
| 2 | Design industrial refrigeration systems | 2.1 | WHS/OHS risk control measures and procedures for carrying out the work are followed |
|  |  | 2.2 | Relevant refrigeration and food storage technology, refrigeration system components and piping are applied to developing the system design in accordance with workplace procedures and relevant industry standards |
|  |  | 2.3 | Safety, functionality and budgetary considerations are incorporated in the installation design |
|  |  | 2.4 | Equipment required is selected in accordance with the design specifications and workplace procedures |
|  |  | 2.5 | Location of components are documented in accordance with workplace procedures and operation of system functions |
|  |  | 2.6 | System design draft is checked for compliance in accordance with the design brief and relevant industry standards |
|  |  | 2.7 | System design is documented and submitted to relevant person/s for approval |
|  |  | 2.8 | Unplanned events are dealt with in accordance with problem-solving techniques and workplace procedures |
| 3 | Obtain approval for industrial refrigeration design | 3.1 | System design is presented and explained to customer and/or relevant person/s |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s in accordance with workplace procedures |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with workplace procedures and relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing industrial refrigeration systems must include at least the following: | two different industrial systems with one of the following: condenser compressor evaporator associated components and controls |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ133A Design industrial refrigeration systems and select components.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEERA0025 Design industrial refrigeration systems and select components

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

understanding required operating functions and parameters from the design specification developing the design within the safety, regulatory and functional requirements and budget limitations documenting and presenting design effectively, successfully negotiating design alteration requests obtaining approval for final design dealing with unplanned events applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures designing industrial refrigeration systems preparing to design industrial refrigeration systems.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

industrial refrigeration systems design and component selection, fundamentals, safe working practices and relevant standards, codes and regulations including: relevant industry practices: AS/NZS 1677 Refrigerating systems SAA refrigeration code AS/NZS 3666 Air-handling and water systems of buildings ozone protection regulations IIAR ammonia data book ANSI/IIAR standards ANSI/ASHRAE mechanical refrigeration and IIAR bulletins and standards (list will be provided by Rama) equipment manufacturer’s specifications and practices operating characteristics: pH charts refrigerating effect, relate back to air and fluid coolers heat of compression, relate back to screw, rotary and reciprocating compressors heat rejected high side of the system, relate back to air cooled, evaporative, and water-cooled condensers variable liquid refrigeration systems and liquid oversee systems required mass flow rate of refrigerant and volume flow rate at various points in system theoretical compressor power required condenser capacity major system components: refrigerants, including R717 and R22 secondary refrigerants component lubricant refrigerant compatibility evaporators condensers and cooling towers compressors expansion valves interconnecting piping and isolating valves pilot-operated valves defrost system components for air, water, recycled water, hot gas and electric methods refrigerant accumulators and liquid pumps problem-solving techniques relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant WHS/OHS legislated requirements relevant workplace budget, quality, policies and procedures relevant workplace documentation.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities and equipment currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6