# UEERA0025 Design industrial refrigeration systems and select components

Release: 1

UEERA0025 Design industrial refrigeration systems and select components

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design industrial refrigeration systems and select components. It includes applying processes and methods of refrigeration and food storage technology, industrial refrigeration system components and piping, safety and relevant industry standards. It also includes following design specifications and customer requirements, and documenting system designs. The skills and knowledge described in this unit may, in some jurisdictions, require a licence or permit to practice in the workplace subject to regulations for undertaking refrigeration and air conditioning work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0016 Design commercial refrigeration systems and select components UEERA0042 Evaluate thermodynamic and fluid parameters of refrigeration systems UEERA0038 Establish the thermodynamic parameters of refrigeration and air conditioning systems UEERA0001 Analyse the operation of HVAC air and hydronic systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems and UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design industrial refrigeration systems | 1.1 | WHS/OHS requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of the refrigeration system is determined from design specifications |
|  |  | 1.3 | Safety and systems are identified, obtained and applied in accordance with relevant industry standards |
|  |  | 1.4 | Work supervisor and/or customer/s are consulted to determine functions and parameter of the system required in accordance with design specifications and workplace documentation |
|  |  | 1.5 | Design development work is planned in accordance with workplace procedures for timelines in consultation with others involved |
| 2 | Design industrial refrigeration systems | 2.1 | WHS/OHS risk control measures and procedures for carrying out the work are followed |
|  |  | 2.2 | Relevant refrigeration and food storage technology, refrigeration system components and piping are applied to developing the system design in accordance with workplace procedures and relevant industry standards |
|  |  | 2.3 | Safety, functionality and budgetary considerations are incorporated in the installation design |
|  |  | 2.4 | Equipment required is selected in accordance with the design specifications and workplace procedures |
|  |  | 2.5 | Location of components are documented in accordance with workplace procedures and operation of system functions |
|  |  | 2.6 | System design draft is checked for compliance in accordance with the design brief and relevant industry standards |
|  |  | 2.7 | System design is documented and submitted to relevant person/s for approval |
|  |  | 2.8 | Unplanned events are dealt with in accordance with problem-solving techniques and workplace procedures |
| 3 | Obtain approval for industrial refrigeration design | 3.1 | System design is presented and explained to customer and/or relevant person/s |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s in accordance with workplace procedures |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with workplace procedures and relevant industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing industrial refrigeration systems must include at least the following: | two different industrial systems with one of the following: condenser compressor evaporator associated components and controls |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ133A Design industrial refrigeration systems and select components.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6