# UEERA0029 Develop heat exchanger design specifications

Release: 1

UEERA0029 Develop heat exchanger design specifications

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to develop heat exchanger design specifications. It includes working safely, applying refrigeration parameters, gathering and analysing data, and developing and documenting results and solutions for work/project and/or development records. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0004 Analyse vibration and noise in refrigeration and air conditioning systems UEERA0042 Evaluate thermodynamic and fluid parameters of refrigeration systems UEERA0001 Analyse the operation of HVAC air and hydronic systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems and UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to develop specifications for exchanger designs | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and procedures are followed in preparation for the work |
|  |  | 1.3 | Scope of analysis to develop specifications is determined from design brief, relevant reports and/or consultations with relevant person/s |
|  |  | 1.4 | Activities are planned in accordance with workplace procedures for timelines in consultation with others involved in the work |
|  |  | 1.5 | Strategies are formed to ensure analysis is carried out in accordance with workplace procedures and relevant industry standards |
| 2 | Develop specifications for exchanger designs | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Relevant refrigeration parameters are applied to developing heat exchanger specifications in accordance with workplace procedures and relevant industry standards |
|  |  | 2.3 | Parameters and performance requirements in relation to refrigeration systems are obtained in accordance with workplace procedures and relevant industry standards |
|  |  | 2.4 | Refrigeration parameters are analysed to provide effective solutions in accordance with workplace procedures |
|  |  | 2.5 | Unplanned events are dealt with in accordance with problem-solving techniques and workplace procedures |
|  |  | 2.6 | Quality of work is monitored in accordance with workplace procedures and relevant industry standards |
| 3 | Document specifications for exchanger design | 3.1 | Analysis, findings, calculations and assumptions are documented in accordance with workplace procedures |
|  |  | 3.2 | Specifications for heat exchanger are developed from analysis findings and in accordance with workplace procedures |
|  |  | 3.3 | Developed specification and analysis is reported to relevant person/s for endorsement in accordance with workplace procedures |
|  |  | 3.4 | Justification for findings and actions undertaken in relation to the design is documented in accordance with workplace procedures and relevant industry standards for work/project and/or development records |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Developing specifications for heat exchangers must include at least the following: | two different designs |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ149A Develop heat exchanger design specifications.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6