# UEERA0035 Establish the basic operating conditions of air conditioning systems

Release: 1

UEERA0035 Establish the basic operating conditions of air conditioning systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to determine operating conditions of air conditioning systems. It includes working safely; determining air temperature, air flow rates and relative humidity using measurement and calculation methods. The skills and knowledge in this unit will be applied by refrigeration and air conditioning technicians during the commissioning, service and repair of air conditioning systems. The skills and knowledge described in this unit may, in some jurisdictions, require a licence or permit to practice in the workplace subject to regulations for undertaking refrigeration and air conditioning work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to determine operating conditions of air conditioning system | 1.1 | WHS/OHS hazards, risk control methods, relevant standards, codes and legislation are obtained and applied in accordance with workplace procedures |
|  |  | 1.2 | Safety hazards which have not previously been identified are assessed, reported and advice on risk control measures is sought from supervisor |
|  |  | 1.3 | System design operating conditions are obtained from documentation or supervisor to determine scope of work to be undertaken |
|  |  | 1.4 | Advice is sought from the supervisor to ensure work is coordinated effectively with others |
|  |  | 1.5 | Materials required for the work are identified and obtained in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices needed to determine operating conditions are obtained and checked for correct operation and safety in accordance with workplace procedures |
| 2 | Determine operating conditions of air conditioning system | 2.1 | Measuring system operating parameters are implemented in accordance with job requirements and workplace safety procedures |
|  |  | 2.2 | Air conditioning system is checked and isolated in accordance with workplace procedures |
|  |  | 2.3 | Actual and specified range of operating conditions are determined from measured and calculated values as they apply to air conditioning system in accordance with workplace procedures |
|  |  | 2.4 | Methods for dealing with unplanned situations/events are discussed with appropriate person/s and documented |
|  |  | 2.5 | Unexpected situations are dealt with safely and with the approval of relevant person/s |
|  |  | 2.6 | Operating conditions for air conditioning system are determined without damage to apparatus, circuits, the surrounding environment or services using relevant workplace sustainable energy practices in accordance with workplace procedures |
| 3 | Complete work and report | 3.1 | Worksite and equipment are cleaned and made safe in accordance with workplace procedures |
|  |  | 3.2 | Operating conditions are documented, including identification of any parameter that is not within the specified range for the of air conditioning system, in accordance with workplace procedures |
|  |  | 3.3 | Supervisor is notified of completion of work in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Determining operating conditions of air conditioning system must include at least the following: | using measurement and calculation methods of air side components of air conditioning systems, including: air dry and wet bulb temperatures air velocity relative humidity volume flow rates across a grille/register |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ104A Establish the basic operating conditions of air conditioning systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6