# UEERA0043 Find and rectify faults in appliance control systems and devices

Release: 1

UEERA0043 Find and rectify faults in appliance control systems and devices

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to find and repair electrical faults in appliance control systems and devices. It includes working safely, using fault-finding procedures, conducting appliance control systems and devices repairs, and completing required service documentation. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, a relevant contract of training, such as an Australian Apprenticeship, is required. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to find faults in appliance control system and devices | 1.1 | WHS/OHS hazards, risk control methods, relevant standards, codes and legislation are obtained and applied in accordance with workplace procedures |
|  |  | 1.2 | Extent of work to be completed is planned from fault and breakdown reports and/or discussions with supervisor/appropriate person/s in accordance with workplace procedures |
|  |  | 1.3 | Advice is sought, as required, from the supervisor to ensure work is coordinated with others |
|  |  | 1.4 | Sources of materials required for work are accessed in accordance with workplace procedures |
|  |  | 1.5 | Tools, equipment and testing devices to locate faults are obtained in accordance with workplace procedures and checked for operational safety |
| 2 | Find and repair electrical faults in appliance control system and devices | 2.1 | Need to test or measure live electrical work is determined in accordance with workplace procedures and WHS/OHS requirements |
|  |  | 2.2 | Appliance is checked and isolated in accordance with workplace procedures and WHS/OHS requirements |
|  |  | 2.3 | Safety hazards resulting from fault or breakdown are identified and documented, and risk control measures are implemented in accordance with workplace procedures and in consultation with appropriate person/s |
|  |  | 2.4 | Fault finding, using measured and calculated values of circuit/control parameters, is undertaken in accordance with workplace procedures |
|  |  | 2.5 | Appliance is dismantled, where necessary, and parts safely stored to protect them against loss or damage |
|  |  | 2.6 | Suspected faulty control device component or circuit is rechecked and fault status is confirmed |
|  |  | 2.7 | Replacement parts are obtained in accordance with workplace procedures |
|  |  | 2.8 | Effectiveness of repair work is tested in accordance with workplace procedures |
|  |  | 2.9 | Apparatus is reassembled, given a final test and prepared for return to service in accordance with workplace procedures |
|  |  | 2.10 | Unexpected situations are resolved in accordance with workplace procedures, safety guidelines and with the approval of authorised person/supervisor |
|  |  | 2.11 | Fault-finding and repair activities are completed without damage to apparatus, circuits, the surrounding environment and/or services using relevant sustainable energy practices in accordance with workplace procedures |
| 3 | Complete and report fault-finding and repair activities | 3.1 | Reusable faulty or worn components are tagged and despatched for repair in accordance with workplace procedures |
|  |  | 3.2 | Maintenance and repair work are documented in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Finding and rectifying faults in appliance control systems and devices must include at least the following: | two different types of appliances four of the following faults: open circuit short circuit incorrect connections insulation failure unsafe condition motor component failure control circuit component failure related mechanical failure |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ154A Find and rectify faults in appliance control systems and devices.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6