# Assessment Requirements for UEERA0058 Plan refrigeration and air conditioning projects

Release: 1

Assessment Requirements for UEERA0058 Plan refrigeration and air conditioning projects

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

determining the project requirements accurately establishing a project budget developing effective workflow strategies documenting project plan proposal negotiating alterations to the proposed project plan successfully obtaining approval of the final plan dealing with unplanned events applying relevant work health and safety (WHS)/occupational health and safety (WHS/OHS) requirements, including using risk control measures.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

refrigeration and air conditioning project planning, developing and documenting refrigeration and air conditioning project proposals, milestones and completion methods and techniques, including: purpose of project planning documents needed to plan a project factors influencing sequence and restraints of project activities critical path and project analysis encompassing: purpose essential data relational sequence of work activities graphical representation methods methods of representing time/rates monitoring methods refrigeration and air conditioning industry sector customs and practices, safe working practices and relevant standards, codes and regulations technical aspects of project planning and management encompassing: method of ensuring equipment meets specified performance requirements performance/cost-benefit analysis equipment procurement typical approaches to planning and management successful planning techniques best practice management methods and styles relevant manufacturer specifications relevant safe job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities and equipment currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6