# UEERA0060 Produce HVAC/R control system diagrams

Release: 1

UEERA0060 Produce HVAC/R control system diagrams

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to produce heating, ventilation and air conditioning/refrigeration (HVAC/R) control system diagrams. It includes applying safe working practices, interpreting technical data and specifications, applying knowledge of HVAC/R control systems drawing protocols, using appropriate drawing tools and documenting design. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0001 Analyse the operation of HVAC air and hydronic systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to produce HVAC/R control system diagrams | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures are followed in preparation for the work |
|  |  | 1.3 | Scope of work is determined from project specifications and/or discussions with relevant person/s |
|  |  | 1.4 | Relevant person/s is consulted to ensure the work is coordinated effectively with others involved on the worksite |
|  |  | 1.5 | Software tools and equipment required for work are obtained in accordance with workplace procedures |
| 2 | Produce HVAC/R control system diagrams | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Relevant control diagrams and layouts required are determined in accordance with project specifications |
|  |  | 2.3 | Technical data of control system components is interpreted to determine parameters for inclusion in accordance with project specifications |
|  |  | 2.4 | Relevant software tools are used to produce diagrams in accordance with project specifications |
|  |  | 2.5 | Diagrams are checked for accuracy in accordance with project specifications and workplace procedures |
|  |  | 2.6 | Unplanned events are dealt with in accordance with workplace procedures and safe work practices |
| 3 | Complete and report HVAC/R control system diagrams | 3.1 | Completed control diagrams are submitted to relevant person/s for accuracy in accordance with project specifications and workplace procedures |
|  |  | 3.2 | Alterations, additions and/or corrective instructions are followed and diagrams are re-submitted for final approval in accordance with project specifications and workplace procedures |
|  |  | 3.3 | Copies of completed diagrams are filed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Producing control system design diagrams must include at least the following: | two different HVAC/R projects |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ130A Produce HVAC/R control system diagrams.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6