# UEERA0061 Produce HVAC/R system design drawings

Release: 1

UEERA0061 Produce HVAC/R system design drawings

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to produce heating, ventilation and air conditioning/refrigeration (HVAC/R) system design drawings. It includes applying safe working practices, interpreting technical data and specifications, applying knowledge of HVAC/R systems design drawing protocols, using appropriate drawing tools and documenting design. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0001 Analyse the operation of HVAC air and hydronic systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to produce HVAC/R design drawings | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | WHS/OHS risk control measures and workplace procedures in preparation for the work are followed |
|  |  | 1.3 | Scope of work is determined from project specifications and/or discussions with relevant person/s |
|  |  | 1.4 | Relevant person/s is consulted to ensure the work is coordinated effectively with others involved on the worksite |
|  |  | 1.5 | Software tools and equipment required for work are obtained in accordance with workplace procedures |
| 2 | Produce HVAC/R design drawings | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Relevant design drawings and layouts required are determined in accordance with project specifications |
|  |  | 2.3 | Technical data of system components is interpreted to determine parameters for inclusion in accordance with project specifications |
|  |  | 2.4 | Relevant software tools are used to produce drawings in accordance with project specifications |
|  |  | 2.5 | Drawings are checked for accuracy in accordance with project specifications and workplace procedures |
|  |  | 2.6 | Methods for dealing with unplanned events are conducted in accordance with workplace procedures and safe work practices |
| 3 | Complete and report HVAC/R design drawings | 3.1 | Completed drawings are submitted to relevant person/s for accuracy in accordance with project specifications and workplace procedures |
|  |  | 3.2 | Alterations, additions and/or corrective instructions are followed and drawings are re-submitted for final approval in accordance with project specifications and workplace procedures |
|  |  | 3.3 | Copies of completed drawings are filed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| producing design drawings must include at least the following: | two different HVAC/R projects |
| servicing and repairing secondary refrigeration systems must include at least two of the following system types: | chilled water or glycol/brine system condenser water system defrost system heat recovery system thermal storage system |
| servicing and repairing secondary refrigeration systems must include the following components: | cycling controls heat exchangers primary refrigerant flow controls pumps safety controls secondary refrigerant flow controls secondary refrigerant piping, insulation and associated equipment |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ128A Produce HVAC/R system design drawings.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6

Assessment Requirements for UEERA0061 Produce HVAC/R system design drawings

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

understanding the extent of the drawing work accurately determining appropriate types of drawings and their layouts correctly including appropriate technical data parameters in the drawings checking and correcting drawings accurately filing copies of completed drawings securely dealing with unplanned events applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures completing and reporting heating, ventilation and air conditioning/refrigeration (HVAC/R) design drawings preparing to produce HVAC/R design drawings producing HVAC/R design drawings.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

HVAC/R system drawing, safe working practices and relevant standards, codes and regulations, including: architectural and mechanical drafting conventions encompassing: fire, hydraulic, electrical layout diagrams sketching of pipe work circuits and mechanical services drawing standards and symbols working, detail and assembly drawings ductwork layouts and conventions pipe work layouts and conventions computer-aided drawing techniques relevant job safety assessments or risk mitigation processes relevant manufacturer specifications relevant software tools and equipment relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities and equipment currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6