# UEERA0080 Select basic commercial refrigeration system equipment, components and accessories

Release: 1

UEERA0080 Select basic commercial refrigeration system equipment, components and accessories

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to select commercial refrigeration system equipment, components and accessories. It includes selecting commercial refrigeration system equipment and components, pipe work and controls. It also includes selecting refrigerant, condensing unit, evaporator, refrigerant controls, accessories, refrigerant and condensate pipe work, and system controls based on specifications, industry standards and manufacturer catalogues to determine calculated and deemed-to-comply solutions and documenting all selection information. The skills and knowledge described in this unit may, in some jurisdictions, require a licence or permit to practice in the workplace subject to regulations for undertaking refrigeration and air conditioning work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERA0081 Select refrigerant piping, accessories and associated controls UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0034 Establish heat loads for commercial refrigeration and/or air conditioning applications UEERA0038 Establish the thermodynamic parameters of refrigeration and air conditioning systems UEERA0002 Analyse the psychrometric performance of HVAC/R systems and UEERA0003 Analyse the thermodynamic performance of HVAC/R systems or UEERA0094 Verify functionality and compliance of refrigeration and air conditioning installations UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0042 Solve problems in ELV single path circuits UEECD0020 Fix and secure electrotechnology equipment UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEECD0016 Document and apply measures to control WHS risks associated with electrotechnology work UEERA0059 Prepare and connect refrigerant tubing and fittings UEERA0036 Establish the basic operating conditions of vapour compression systems UEERA0035 Establish the basic operating conditions of air conditioning systems UEERA0050 Install refrigerant pipe work, flow controls and accessories UEERA0081 Select refrigerant piping, accessories and associated controls UEERA0031 Diagnose and rectify faults in air conditioning and refrigeration control systems UEERA0092 Solve problems in low voltage refrigeration and air conditioning circuits UEERL0005 Locate and rectify faults in low voltage (LV) electrical equipment using set procedures UEERL0004 Disconnect - reconnect electrical equipment connected to low voltage (LV) installation wiring UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1000 V a.c. or 1500 V d.c.

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify commercial refrigeration system equipment and components | 1.1 | Extent and nature of refrigeration installation is determined from job specifications |
|  |  | 1.2 | Refrigeration system safety and regulatory compliance requirements are identified and applied |
| 2 | Develop refrigeration pipe work arrangements | 2.1 | Location of refrigeration equipment is determined from regulatory requirements, job specifications and site drawings |
|  |  | 2.2 | Refrigeration piping is arranged to ensure safe and functional operation of the system |
|  |  | 2.3 | Pipe work is arranged to comply with technical industry standards, job specifications and requirements |
| 3 | Select commercial refrigeration system equipment and components | 3.1 | Pipe and tubing are selected for suitability for the commercial environments it is to be installed |
|  |  | 3.2 | Pipe and tubing are sized to meet refrigeration parameters and capacity requirements for the refrigerant to be used |
|  |  | 3.3 | Pipe and tubing quantities are determined from equipment location diagrams and job specifications |
|  |  | 3.4 | Refrigeration system equipment and components are selected to meet load requirements based on calculated or deemed-to-comply solutions |
|  |  | 3.5 | Refrigerant liquid expansion valves are selected to meet functional, specified and regulatory requirements |
|  |  | 3.6 | Automatic control devices are selected to meet functional, specified regulatory requirements, current voltage and ingress protection (IP) ratings |
|  |  | 3.7 | Evidence is obtained that the selected refrigeration equipment and components comply with job requirements and industry standards |
| 4 | Document selection of system equipment and components | 4.1 | Reasons for selections made including calculations are documented in accordance with workplace procedures |
|  |  | 4.2 | Refrigeration installation arrangements and specifications for selected items are documented in accordance with workplace procedures and forwarded to appropriate person/s |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Selecting commercial refrigeration system equipment and components, pipe work and controls must include at least the following: | two different refrigeration systems, including: refrigerant condensing unit evaporator refrigerant controls accessories refrigerant and condensate pipe work system controls |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ190A Select basic commercial refrigeration system equipment, components and accessories.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6