# UEERA0088 Service gas heating appliances

Release: 1

UEERA0088 Service gas heating appliances

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to service a gas heating appliance. Competency in this unit requires the ability to work safely, apply knowledge of gas heating appliances, test appliance functions, locate and rectify faults and defective components, and complete all required service documentation. Individuals will typically work independently to service and repair gas heating appliances. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 volt (V) alternating current (a.c.) or 120 V direct current (d.c.). Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, a relevant contract of training, such as an Australian Apprenticeship, is required. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Refrigeration and air-conditioning

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to service gas heating appliance | 1.1 | WHS/OHS hazards, risk control methods, relevant standards, codes and legislation are obtained and applied in accordance with workplace procedures |
|  |  | 1.2 | Extent of work to be completed is determined from service and fault requests and/or discussions with supervisor/appropriate person/s in accordance with workplace procedures |
|  |  | 1.3 | Advice is sought, as required, from supervisor to ensure work is coordinated with others |
|  |  | 1.4 | Sources of materials/parts required for work are identified in accordance with workplace procedures |
|  |  | 1.5 | Tools, equipment and testing devices to locate faults are obtained in accordance with workplace procedures and checked for operational safety |
| 2 | Service gas heating appliance | 2.1 | Need to test or measure live electrical work is determined in accordance with workplace procedures and WHS/OHS requirements |
|  |  | 2.2 | Heating appliance is checked and isolated in accordance with workplace procedures and WHS/OHS requirements |
|  |  | 2.3 | Safety hazards resulting from defect or fault are identified and documented, and risk control measures implemented in accordance with workplace procedures and in consultation with appropriate person/supervisor |
|  |  | 2.4 | Heating appliance is tested and components are inspected for wear or defects in accordance with workplace procedures and manufacturer specifications |
|  |  | 2.5 | Heating appliance faults and their cause are identified using measured and calculated values of appliance parameter in accordance with workplace procedures |
|  |  | 2.6 | Heating appliance is dismantled, where necessary, and parts safely stored to protect them against loss or damage, in accordance with workplace procedures |
|  |  | 2.7 | Defective, worn or faulty appliance components are rechecked and their status is confirmed |
|  |  | 2.8 | Replacement parts are obtained in accordance with workplace procedures |
|  |  | 2.9 | Effectiveness of repair work is tested in accordance with workplace procedures |
|  |  | 2.10 | Apparatus is reassembled, given a final test and prepared for return to service in accordance with workplace procedures |
|  |  | 2.11 | Unexpected situations are resolved in accordance with workplace procedures, safety guidelines and with the approval of an authorised person/supervisor |
|  |  | 2.12 | Servicing activities are completed without damage to apparatus, circuits, the surrounding environment and/or services using relevant sustainable energy practices in accordance with workplace procedures |
| 3 | Complete and report fault-finding and repair activities | 3.1 | Work area is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.2 | Service report is completed and verified by an appropriate person/supervisor in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide. |  |
| --- | --- |
| Servicing heating appliances must include at least the following: | two gas heating appliances: stoves ovens hot plates ranges space heaters hot water systems four defects/faults: no pilot flame no main jet ignition not hot enough timer not working correctly electric shock received from appliance cabinet gas leaking |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEJ159A Service gas heating appliances.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6