# Assessment Requirements for UEERA0090 Service room air conditioners

Release: 1

Assessment Requirements for UEERA0090 Service room air conditioners

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (WHS/OHS) requirements and workplace procedures and practices, including using risk control measures applying sustainable energy principles and practices completing service report accurately dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment determining the nature of the work from service request finding faults efficiently identifying defective components affecting appliance efficiency rectifying defects/faults effectively servicing room air conditioners testing appliance functions effectively.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

component repair/replacement methods relevant job safety assessments or risk mitigation processes relevant manufacturer specifications, including parts catalogues and service reports relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures self-contained room air conditioners, including types, applications, construction, components and operating characteristics typical component wear or defects typical faults.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6