# Assessment Requirements for UEERE0002 Assemble and connect remote area power supplies

Release: 2

Assessment Requirements for UEERE0002 Assemble and connect remote area power supplies

# Modification History

Release 2. This minor update is the second release of this unit of competency in the UEE Electrotechnology Training Package. Typographic error in prerequisite option requirements fixed.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices, including the use of risk control measures assembling and connecting remote area power supply (RAPS) systems accurately placing and securing apparatus checking isolation of circuits/machines/systems completing relevant reporting complying with manufacturer specifications, functional and regulatory requirements conducting quality checks connecting apparatus and associated equipment coordinating work with relevant person/s dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment determining scope of work from documentation and/or relevant person/s determining live electrical testing/measurement requirements identifying and accessing materials, tools, equipment and testing devices reading and interpreting drawings related to apparatus, locations and circuit connections maintaining fire integrity.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures RAPS extra-low voltage (ELV) installations, including: documentation, including: records of periodic inspection and testing test results that comply with requirements test results reporting required by authorities methods for providing compliant protection requirements for: installation of wiring and equipment installation planning and selection of equipment testing and verification sustainable energy principles.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to assembling and connecting RAPS applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6